## Drop Downs
BUILDING INFO |  | ENVELOPE MEASURES |  |  | MECHANICAL MEASURES |  |  |  |  | LIGHTING MEASURES
Building Type |  | Roofs |  |  | Night Fan Control |  |  |  |  | Commissioning
Retail |  | Insulation entirely above deck |  |  | Cycles |  |  |  |  | Commissioned: High Quality
Office |  | Metal Buildings |  |  | On |  |  |  |  | Commissioned: Satisfactory Quality
|  | Attic and Other | [7 empty] | Commissioned: Poor Quality
Commissioning not completed or specified
|  | Yes / No |  |  | Snow and Ice |  | Temperature Setting
|  | Yes |  |  | Outdoor Air Temp. |  | <=35F |  |  | Receptacle Controls
|  | No |  |  | Pavement Temp. |  | <=40F |  |  | Occupancy Sensor
|  | N/A |  |  | Precipitation |  | <=50F |  |  | Schedule
|  | Insulation Quality |  |  | No Sensor - Manual Control |  | >50F |  |  | No automatic plug load controls
|  | Good |  |  |  |  | Manual Only
Climate Zone |  | Fair (2.5%)
1 | A | Poor (5%) |  |  | Outdoor Heating |  |  |  |  | Parking Garage Controls
2 | B |  |  |  | Occ. Sensor |  | Radiant |  |  | Occupancy sensor light control; zones ≤ 3.6 ksf; @ fixt off ≥30%; and off in ≤ 30 min
3 | C | Walls |  |  | Timer |  | Other |  |  | Occupancy sensor light control; overall reduction <30%; or off in > 30 min
4 |  | Mass |  |  | Schedule |  |  |  |  | Schedule based lighting controls
5 |  | Metal Building |  |  | No Control |  |  |  |  | No automatic lighting controls
6 |  | Metal Framed
7 |  | Wood Framed and other | [7 empty] | Exterior Lighitng Control
8 | [9 empty] | Photocell or Astro time switch ; with additional nighttime turn off (12-6 am)
|  | Floors |  |  | HVAC Type |  |  | Equip Type |  | Photocell or Astro time switch
|  | Frame |  |  | DX Cooling/Furnace, Packaged or VRF |  |  | DX cooling |  | Time switch but no seasonal correction
Addtl Eff |  | Mass |  |  | VAV with boiler & air-cooled chiller |  |  | Gas Furnace |  | No exterior lighting controls
N/A |  |  |  |  | VAV with boiler, chiller & cooling tower |  |  | Air-to-Air Heat Pump
HVAC |  | Windows |  |  | Packaged VAV w/ hydronic reheat |  |  | WSHP |  | Non-Visual Lighting Controls
LPD |  | IECC: Fixed |  |  | Packaged VAV w/ Electric Reheat |  |  | VAV Reheat System |  | Occupancy sensor controlled
Lt Control |  | IECC: Operable |  |  | Heat Pump, Packaged or VRF |  |  | Gas/Oil Boiler |  | Accessible separate control device
Renewables |  | IECC: Entrance doors |  |  | Water Loop Heat Pump |  |  | Air-Cooled Chiller |  | No separate control device
DOAS |  | 90.1: Nonmetal framing | [5 empty] | Water-cooled Chiller
SWH |  | 90.1: Metal framing (curtainwall/storefront) | [7 empty] | Display Lighting
|  | 90.1: Metal framing (entrance door) |  |  | Cx Conditions |  |  |  |  | Display lighting controlled separately.
|  | 90.1: Metal framing (all other) |  |  | Commissioned; High Quality |  |  |  |  | Display lighting not controlled separately.
State |  |  |  |  | Commissioned; Satisfactory Quality
AL |  | Air Barrier | CAB | Mat/Ass | Commissioned; Poor Quality |  |  |  |  | Exterior Lighting Zone
AK |  | Tested at 0.25 cfm/ft2 | Sealed and intact | Do Comply | Commissioning not completed or specified |  |  |  |  | 1. Developed areas of national parks, state forests, state parks, forest land, and rural areas
AZ |  | Tested at 0.3 cfm/ft2 | Poor construciton | Don't comply | [5 empty] | 2. Areas predominantly consisting of residential zoning, neighborhood business districts, light industrial with limited nighttime use and residential mixed use areas.
AR |  | Tested at 0.4 cfm/ft2 | Not Sealed and intact |  | Energy Source |  |  |  | CV or VAV | 3. All other areas.
CA |  | Tested at 0.8 cfm/ft2 |  |  | Electricity |  |  |  | Constant | 4. High-activity commercial districts in major metropolitan areas as designated by the local land use planning authority.
CO |  | Tested at 1.2 cfm/ft2 |  |  | Natural Gas |  |  |  | Variable
CT |  | Not tested |  |  | Chilled Water |  |  |  |  | Retail Area Type | wattage allowed
DC |  |  |  |  | Hot Water |  |  |  |  | 1. All products not listed in Retail Area 2, 3, 4. | 0.6
DE |  |  |  |  | Chilled and Hot Water (cool/heat) |  |  |  |  | 2. Vehicles, Sporting Goods, Small Electronics | 0.6
FL |  |  |  |  | Fuel Oil |  |  |  |  | 3. Furniture, Clothing, Cosmetics, Art Work | 1.4
GA |  |  |  |  | Propane |  |  |  |  | 4. Jewelry, China, Crystal | 2.5
HI |  |  |  |  | Steam
ID |  | Vestibule as Found |  |  | Renewable Energy |  |  |  |  | C406 Options
IL |  | Vestibule |  | Door Timing | [5 empty] | HVAC
IN |  | Air Curtain |  | Doors open same time | capactiy units |  | heatting eff |  | cooling eff | LPD
IA |  | No vestibule or air curtain installed |  | Doors open separately | Btu/hr |  | Percent |  | EER | Lighting Controls
KS |  |  |  |  | MBH (also kBtu/hr) |  | ET |  | IEER | Renewables
KY |  |  |  | Air Curtain Adjusted | mmBtu |  | AFUE |  | SEER | DOAS
LA |  |  |  | Adjusted Properly | hp |  | COP |  | kW/ton (full load) | SWH
ME |  |  |  | Not Adjusted | kW |  | HSPF |  | kW/ton (IPLV)
MD |  | Vestibule Code |  |  | tons |  |  |  |  | Exterior Areas
MA |  | Vestibule | [7 empty] | Parking areas and drives
MI |  | Air Curtain |  |  | HP Sup. Control |  |  |  | Control Type | Walkways and Ramps <10'
MN |  |  |  |  | <=30 F |  | Econ |  | Programmable Thermostat | Walkways and Ramps >10'
MS |  | Facing |  |  | >30F and <=40 F |  | Air |  | Manual Thermostat | Plaza Areas
MO |  | North |  |  | > 40 F and <70 F |  | Water |  | BAS/BMS | Special Feature Areas
MT |  | Northeast |  |  | >= 70 F |  |  |  | Other | Dining Areas
NE |  | East |  |  | No Control |  |  |  |  | Stairways
NV |  | Southeast | [7 empty] | Pedestrian Tunnels
NH |  | South |  |  | Supply Fan Control |  |  | OA Control |  | Landscaping
NJ |  | Southwest |  |  | Manual Switch |  |  | Constant |  | Pedestrian and Vehicular Entrances and Exits
NM |  | West |  |  | Constant |  |  | Temperature Economizer |  | Entry Canopies
NY |  | Northwest |  |  | VAV |  |  | Enthalpy Economizer |  | Loading Docks
NC |  |  |  |  | VFD |  |  | DOAS |  | Free-standing and attached sales canopies
ND |  | Window Frame type |  |  | Cycling on Thermostat |  |  | DCV |  | Open outdoor sales
OH |  | Metal |  |  | DCV |  |  |  |  | Street frontage for vehicle sales lots
OK |  | Metal with Thermal Break | [7 empty] | Building Façade
OR |  | Nonmetal or Metal Clad |  |  | DCV |  | ERV |  | ERV Ratio | ATM
PA |  | Glazed Block |  |  | Installed |  | OA and EA bypass/control |  | >=60% | Entrances and Gatehouses at guarded facilities
RI |  |  |  |  | Not Installed |  | OA bypass/control |  | >=50% | Loading areas for law enforcement, ambulances, fire and other emergency services
SC |  | Floor Assembly |  |  |  |  | No bypass/control |  | >=35% | Drive up windows and doors
SD |  | Mass | [6 empty] | <35% | Parking near 24 hour retail entrances
TN |  | Joist/Frame
TX |  | Slab on Grade (unheated) |  |  | VAV | Variable speed |  | Reset Min | Max
UT |  | Slab on Grade (heated) |  |  | Multi | VSD |  | 0.5" wc | 1.2" wc
VT |  |  |  |  | Single | Vari-pitch axial fan |  | <0.5" wc | <=1/3 design pressure
VA |  | Door Type |  |  |  | Inlet vanes |  | No reset | >1/3 design pressure
WA |  | Swinging |  |  |  | Outlet damper control |  |  | No reset
WV |  | Roll-Up
WI |  |  |  |  | Duct Sealing
WY |  | WWR |  |  | Tested |  |  |  |  | automatic time switch control
|  | IECC - 30% |  |  | Properly sealed |  |  |  |  | Automatic time controls ; Control zones ≤25k ft2/1 floor; Any override limited to 5000 sf & 2 hours
|  | IECC Inc. Area - 40% |  |  | Poorly sealed |  |  |  |  | Automatic time controls ; Control zones ≤25k ft2/1 floor; and override limited to 5000 sf & 2 hours
Code |  | ASHRAE - 40% |  |  | Multiple disconnections |  |  |  |  | Automatic time controls ; Control zones >25k ft2/1 floor; or override >5000 sf or > 2 hours
IECC | [9 empty] | No automatic controls
90.1 |  | SRR
|  | IECC - 3% |  |  | parking garage |  | Control |  | Turn Down | FixtureType |  | Lamp type
Year |  | IECC Inc. Area - 5% |  |  | Exhaust Reduction |  | CO sensors |  | <=33% | Linear, Pendant |  | CFL
2007 |  | ASHRAE - 5% |  |  | Constant Volume |  | Schedule |  | <=50% | Linear, Surface Mount |  | T5
2009 | [6 empty] | N/A |  | >50% | Linear, Recessed |  | T5HO
2010 |  | Dampers | Sealing | Leakage | [5 empty] | Linear Coved |  | T8
2012 |  | Closed | Good weather stripping and seals | Meet requirements | [5 empty] | Track |  | T8HP
2013 |  | Open | Poor weather stripping and seals | Do not meet requirements | WSHP |  | Pump Control |  |  | Downlight |  | T12
2015 |  |  |  |  | Individual Valves |  | VSD |  |  | Pendant, Decorative |  | LED, Linear
2016 |  |  |  |  | No Individual Valves |  | Pump Curve |  |  | High-bay |  | LED, A-lamp
2018 | [6 empty] | Constant Flow |  |  | Low-bay |  | LED, Screw-in (Mogul)
2019 | [9 empty] | Can |  | LED Screw-in (Edison filament)
2021 |  |  |  |  | Chiller Valves |  | Pump Configuration |  | Flow Control | Sconce |  | LED Integrated Fixture
[7 empty] | Separate pumps on each chiller |  | VSD | Surface mount residential |  | LED Pin
Compliance Path | [6 empty] | Common/Primary pump |  | Constant | Undercabinet |  | LED, Other
Prescriptive | [9 empty] | Exterior, Wallpak |  | Mercury Vapor
Performance |  |  |  |  | Zone Isolation |  |  |  |  | Exterior, Ground Mounted Uplight |  | Metal Halide
Envelope Trade Off |  |  |  |  | Shut Off | size |  |  |  | Exterior, Bollard |  | HPS
[5 empty] | Sensor | < 5,000 sf |  |  |  | Exterior, Pole Mounted Light |  | Incandescent
[5 empty] | Schedule | < 25,000 sf |  |  |  | Other |  | Unknown
Occupancy Type |  |  |  |  | No Shut off | > 25,000 sf |  |  |  | Unknown |  | NA
Automotive Facility | [9 empty] | NA
Convention Center | [10 empty] | reduction | ON | OFF |  |  | timer
Courthouse | [9 empty] | Int/Ext | Occ/Vac | Occ/Vac | Occ/Vac | daylight | manual | zone | override
Dining: Bar Lounge/Leisure | [9 empty] | Interior | 100% | Auto On 100% | 10 min | Continuous Dimming | 3-step | <25,000 sqft | < 2 hrs
Dining: Cafeteria/Fast Food | [9 empty] | Exterior | 50% | Auto On 50% | 20 min | Stepped Dimming | Dimmer | >25,000 sqft | 2 hrs
Dining/Family | [10 empty] | 30% | Manual On | 30 min | Switching | 2-step |  | > 2hrs
Dormitory | [11 empty] | Unknown | >30 min | Unknown | 1-step (100% on/off only)
Exercise Center | [9 empty] | switching |  | NA | Unknown | NA | N/A
Fire Station | [9 empty] | Manual Switch |  |  | NA
Gymnasium | [9 empty] | Time Switch
Health-care Clinic | [9 empty] | Ceiling Mounted Occupancy Sensor | control sub types
Hospital | [9 empty] | Wall Mounted Occupancy Sensor | Manual 3-step or dimmer controls; w/reduction to ≤33%
Hotel/motel | [9 empty] | Daylight Sensor | Manual 2-step controls; w/reduction to ≤50% in each room
Library | [9 empty] | Central Controller | Manual 2-step controls; w/reduction to ≤70% in each room
Manufacturing facility | [9 empty] | Hardwired (No Switch) | Manual 1-step room controls for 100% off only
Motion picture theater | [9 empty] | Unknown | OC; Manual ON; time off ≤ req'd
Multifamily | [9 empty] | NA | OC; Auto on 50%; time off ≤ req'd
Museum | [10 empty] | OC; Auto on 100%; time off ≤ req'd
Office | [10 empty] | OC; Manual ON; time off > req'd
Parking garage | [10 empty] | OC; Auto on 50%; time off > req'd
Penitentiary | [9 empty] | retail/nonv | OC; Auto on 100%; time off > req'd
Performing arts theater | [9 empty] | Separate Control | Automatic time switch control
Police station | [9 empty] | Not Separate Control | Daylight zone with continuous dimming
Post office | [9 empty] | Occupancy Sensor Control | Daylight zone with stepped dimming
Religious facility | [10 empty] | Daylight zone with separate manual control
Retail | [10 empty] | Display lighting controlled separately
School/University | [10 empty] | Non-visual lighting controlled separately
Sports area | [10 empty] | Nighttime off (12-6am)
Town hall | [10 empty] | No nighttime off
Transportation | [10 empty] | Photocell
Warehouse | [10 empty] | Astro time switch
Workshop | [10 empty] | Time switch no seasonal correction

## Cover
Building Identifier |  | 0
Plan Reviewer Name |  | 0
| Field Inspector Name | 0
Surveys are conducted in collaboration with
Pacific Northwest National Laboratory
Prepared for
U.S. Department of Energy and Institute for Market Transformation
Commercial Building
Energy Code Field Study
Data Collection Forms v2.1
June 2020

## Project Information
BUILDING CHARACTERISTICS – Project Information
Building Identifier
Building Identifer
Data Collection Team
Plan/Documentation Reviewer |  | Date of Plan Review
Field Inspector Name |  | Date of Field Inspection
Project Contact
Site Contact 1 | Name | Title
| Phone | Email
Site Contact 2 | Name | Title
| Phone | Email
Building Basics
City |  | State
County |  | ZIP
Climate Zone
Completion Date |  | Is the building Occupied?
Total Gross Floor Area |  | Total Conditioned Floor Area
Number of Stories
Primary Building Type |  | %
Secondary Building Type |  | %
Tertiary Building Type |  | %
|  | Total | 0%
Code Compliance Details
Selected Code |  | Code Year
Compliance Path |  | Option Path | N/A
Comments/Notes

## Roof
ENVELOPE - ROOF AND SKYLIGHTS
Skylight-to-Roof Ratio (SRR)
Gross Roof Area |  | 0
Total Skylight Area |  | 0
Net Opaque Roof Area |  | 0
SRR |  | #DIV/0!
Roof Assembly ID |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Roof
Gross Roof Area (sq.ft.)
Roof Assembly Type
Plan Review
U-factor
R-value
Reflectance
Field Inspection
U-factor
R-value
Install Quality
Visible?
Data Source
Reflectance
Visible?
Data Source
Photo?
Notes/Comments
Skylights
Roof ID |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Skylight area (sqft)
Plan Review
U-factor
SHGC
Field Inspection
U-factor
SHGC
Number Panes
Frame Type
Tinted
Visible?
Data Source
Photo?
Notes/Comments

## Walls
ENVELOPE - WALLS AND FENESTRATION
Window-to-Wall Ratio (WWR)
Gross Wall Area |  | 0
Total Window Area |  | 0
Net Opaque Wall Area |  | 0
WWR |  | #DIV/0!
Wall Assembly ID |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Location (direction facing) |  | #DIV/0! 1: North
Above Grade Walls
Gross Wall Area (sqft)
Wall Assembly Type
Plan Review
U-factor
R-value
Field Inspection
U-factor
R-value
Install Quality
Visible?
Data Source
Photo?
Notes/Comments
Fenestration (Window and Glazed Doors)
Window Area (sqft)
Window Type
Plan Review
U-factor
SHGC
Field Inspection
U-factor
SHGC
Number Panes
Frame Type
Tinted
Area Match?
Visible?
Data Source
Photo?
Notes/Comments
Opaque Doors
Door Area
Door Type
Plan Review
U-factor
Field Inspection
U-factor
Visible?
Data Source
Photo?
Notes/Comments

## Floor
ENVELOPE - FLOOR
Floor Assembly ID |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Floor
Gross Floor Area (sqft)
Floor Assembly Type
Plan Review
U-factor
R-value
Field Inspection
U-factor
R-value
Install Quality
Visible?
Data Source
Photo?
Notes/Comments

## 5012+5014 Roof (hidden)
5012: ENVELOPE - ROOF INSULATION
Measure Applicable? |  |  | If "no", note why:
Roof Assembly ID |  |  | Roof Type (select one)
Code Requirement | R-value |  | U-factor
Plan Review | R-value | #REF! | U-factor | #REF!
| ft2 roof area |  | Measure Time
Field Insepction | Visible? |  | If "No", source of info:
| R-value |  | U-factor
| ft2 roof area |  | Installation Quality
Measure Time
Measure Comments
5014: ENVELOPE - COOL ROOF
Measure Applicable? |  |  | If "no", note why:
Code Requirement | Reflectance
Plan Review | Reflectance |  | --
| ft2 roof area |  | Measure Time
Field Insepction | Visible? |  | If "No", source of info:
| Reflectance |  | --
| ft2 roof area |  | Measure Time
Measure Comments

## 5018AB Walls (hidden)
5018A/B: ENVELOPE - ABOVE GRADE WALLS
Measure Applicable? |  |  | If "no", note why:
Wall Assembly ID |  |  | Wall Type (select one)
Code Requirement | R-value |  | U-factor
Plan Review | R-value | #REF! | U-factor | #REF!
| ft2 wall area |  | Measure Time
Field Insepction | Visible? |  | If "No", source of info:
| R-value |  | U-factor
| ft2 wall area |  | Installation Quality
Measure Time
Measure Comments

## Additional Envelope Measures
ENVELOPE - OTHER
Vestibule
Number of Entries
Plan Review
Vestibule or Air Curtain?
| # Vestibules Shown | # Air Curtains Shown
Timing of Doors |  | Air Curtain Adjusted
Field Inspection
Vestibule or Air Curtain?
| # Vestibules Shown | # Air Curtains Shown
Timing of Doors |  | Air Curtain Adjusted
| Visible? | Data Source
Notes/Comments
Air Barrier
Plan Review
| Testing Condition | Material/Assembly
Field Inspection
Testing Condition
| Continuous Air Barrier | Material/Assembly
| Visible? | Data Source
Notes/Comments
Stair and Shaft Vent Leakage
Number of Shafts |  | Number of Stairwells
Plan Review
Normal Condition
| Weather Stripping | Leakage Requirements
Field Inspection
Normal Condition
| Weather Stripping | Leakage Requirements
| Visible? | Data Source
Notes/Comments

## HVAC System
MECHANICAL - System Summary
Commissioning
Was the building commissioned?
…If not, is commissioning planned?
Plan Review
Field Inspection
Data Source
Notes/Comments
HVAC System Type
Primary System
Equipment Type | Total Count | General Description | Spaces Served | Primary Control Type
DX cooling
Gas Furnace
Air-to-Air Heat Pump
WSHP
VAV Reheat System
Boiler
Air-Cooled Chiller
Water-cooled Chiller
Notes/Comments
Controls
Control Type | Description | Make/Model | Other Notes
Building Management System
Programmable Thermostat
Manual Thermostat
Other
Thermostat Controls
Plan Review
Deadband
Heating Setback (degrees F) |  | Cooling Setback (degrees F)
Field Inspection
Deadband
Heating Setback (degrees F) |  | Cooling Setback (degrees F)
Visible |  | Data Source
Notes

## HVAC Log
MECHANICAL - HVAC Log
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Equip ID
Equip Type | Air-Cooled Chiller
Sub-Type
Qty
Make
Model
Heating
Source/Fuel
Output Capacity
Units
Performance/Efficiency
Plan Review
Performance
Units
Field Inspection
Performance
Units
Visbile?
Data Source
Photo?
Notes
Heat Pump Supplementary Controls
HP Supp. Control
Plan Review
Lockout setpoint
Field Inspection
Lockout setpoint
Visbile?
Data Source
Photo?
Notes
Cooling
Source
Output Capacity
Units
Performance/ Efficiency
Plan Review
Performance
Units
Field Inspection
Performance
Units
Photo?
Notes
Economizer
Economizer
Air/Water
Plan Review
Air - OA%
Water - Tons
Field Inspection
Air - OA%
Water - Tons
Visibile?
Data Source
Photo?
Notes
Ventilation
Supply Fan HP | 2.4 | 1.7
Supply Fan Control | VAV
Supply CFM | 4000 | 3000
Minimum OA CFM | 825 | 625
OA CFM Flow Control
Motorized Dampers? | Yes | Yes
Energy Recovery
Plan Review
ERV
OA cfm
Recovery Ratio
Bypass Control
Field Inspection
ERV
OA cfm
Recovery Ratio
Bypass Control
Visible?
Data Source
Photo?
Notes

## Ventilation Controls
MECHANICAL - Ventilation Controls
Night Fan Control
Plan Review
Fan during unoccupied periods
Fan during warm up | Total Supply CFM
Field Inspection
Fan during unoccupied periods
Fan during warm up | Total Supply CFM
Visible? | Data Source
Notes
Optimal Start
Plan Review
Present/Capable | Conditioned Floor Area
OA Sensor
Field Inspection
Present/Capable | Conditioned Floor Area
OA Sensor
Visible? | Data Source
Notes
Demand Control Ventilation
Plan Review
DCV | Floor Area requiring DCV
Field Inspection
DCV | Floor Area requiring DCV
Visible? | Data Source
Notes

## Complex Mechanical Controls
MECHANICAL - COMPLEX CONTROLS
VAV Controls
Plan Review
Zones |  | Single Min. Fan Speed %
Variable Speed Control |  | Minimum CFM
Static Pressure Reset Min. |  | Static Pressure Reset Max.
Ventilation Optimization |  | OA CFM
Field Inspection
Zones |  | Single Min. Fan Speed %
Variable Speed Control |  | Minimum CFM
Static Pressure Reset Min. |  | Static Pressure Reset Max.
Ventilation Optimization |  | OA CFM
Visible? |  | Data Source
Notes
WSHP Controls
Plan Review
Valve Configuration
Pump Control |  | Pump Nameplate HP
Field Inspection
Valve Configuration
Pump Control |  | Pump Nameplate HP
Visble? | No | Data Source
Notes/Comments
Multiple Chiller Controls
Plan Review
Pump Configuration
Flow Control |  | Tons Cooling
Field Inspection
Pump Configuration
Flow Control |  | Tons Cooling
Visble? | No | Data Source
Notes/Comments
Multi-Zone Reset Controls
Plan Review
SAT Reset |  | Design Supply Air Temp.
Reset Temperature |  | Design Room Air Temp.
% Reset
Field Inspection
SAT Reset |  | Design Supply Air Temp.
Reset Temperature |  | Design Room Air Temp.
% Reset
Visble? |  | Data Source
Notes/Comments
Zone Isolation Controls
Plan Review
Shut Off |  | Area not isolated and running during off hrs
Zone Area
Field Inspection
Shut Off |  | Area not isolated and running during off hrs
Zone Area
Visble? | No | Data Source
Notes/Comments

## Additional Mechanical Measures
MECHANICAL - OTHER
Ductwork (Exterior/Outside of Conditioned Space)
Plan Review
R-value Insulation |  | sqft Exterior surface
Sealing |  | SA CFM
Field Inspection
R-value Insulation |  | sqft Exterior surface
Sealing |  | SA CFM
Visble? | No | Data Source
Notes/Comments
Hyrdonic Piping HW
Plan Review
R-value Pipe Insulation |  | Pipe Length Supply
Pipe Length Return
Field Inspection
R-value Pipe Insulation |  | Pipe Length Supply
Pipe Length Return
Visble? | No | Data Source
Notes/Comments
Snow and Ice Melting Systems
Plan Review
Sensor Type |  | Temperature Setting
Area (sqft)
Field Inspection
Sensor Type |  | Temperature Setting
Area (sqft)
Visble? | No | Data Source
Notes/Comments
Outdoor/Radiant Heat
Plan Review
Control Type |  | Heat Type
Capacity (Mbh)
Field Inspection
Control Type |  | Heat Type
Capacity (Mbh)
Visble? | No | Data Source
Notes/Comments
Parking Garage Fan Controls
Plan Review
Exhaust Control |  | Control Type
Fan HP |  | Reduction
Field Inspection
Exhaust Control |  | Control Type
Fan HP |  | Reduction
Visble? |  | Data Source
Notes/Comments
Recirculating Domestic Hot Water
Plan Review
R-value Pipe Insulation |  | Pipe Length Supply
Pipe Length Return
Field Inspection
R-value Pipe Insulation |  | Pipe Length Supply
Pipe Length Return
Visble? |  | Data Source
Notes/Comments

## Fixtures
LIGHTING - Fixtures
Fixture Schedule
Fixture ID* | Description | Fixture Type | Lamp Type | Lamp Length, ft | # Lamps | Watts/ Lamp | Watts/ Fixture | Photo? | Notes
1 |  |  |  |  | 2 | 40 | 80
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
* ID from plans/sched

## Controls
LIGHTING - Controls
Controls Schedule
|  |  | Manual | Occupancy Sensor |  |  | Daylight | Time Switch | Display | Non-Visual | Exterior
Control ID* | Control Base Type | Interior or Exterior | Dimming | On | Off Time | Reduction | Dimming | Override (hrs) | Control | Control | Control | Night Off | Control Zone (sqft) | Photo? | Notes
* ID from plans/sched

## Lighting System
LIGHTING - System
Commissioning
Was the building commissioned?
…If not, is commissioning planned?
Plan Review
Field Inspection
Data Source
Notes/Comments
LPD - Interior |  |  |  | LPD - Retail Allowance | [5 empty] | LPD - Exterior
C406 Option | N/A |  |  | Primary Area Type | [5 empty] | Exterior Zone |  | 1. Developed areas of national parks, state forests, state parks, forest land, and rural areas
Plan Review | 3200 |  |  | Plan Review |  | #REF! |  |  |  | Plan Review |  | 0
Site Visit - Match plans? |  |  |  | Site Visit - Match plans? | [5 empty] | Site Visit - Match plans?
As Found |  |  |  | As Found | [5 empty] | As Found
Lighting System
Space/Description | Interior/ Exterior | Interior Area (sqft) | Ceiling Height (ft) | Exterior Area (sqft or lf) | Fixture ID | Fixture Count | Watts Per Fixture | Total Watts | Control ID | Photo? | Notes
Parking | Interior | 50000 | 9 |  | 1 | 40 | 80 | 3200
[5 empty] | 1 | 2 | 80 | 160

## Additional Electrical Measures
ELECTRICAL - OTHER
Automatic Outlet Controls
Plan Review
| % Outlets Controlled | Floor Area Controlled
Type of Control
Field Inspection
% Outlets Controlled
| Type of Control | Floor Area Controlled
| Visible? | Data Source
Notes/Comments
Renewable Energy Onsite
Plan Review
kWh Planned
Field Inspection
kWh Installed
| Visible? | Data Source
Notes/Comments