total |  |  | 15 | 1 | 1 | 0 |  | Total | #VALUE! | 0.082852 | 0 | 0.16695 | 23.4605 | 0.11818 | 1.2534 | 0.11645 | 11.0258 | 0.10153 | 25.3622 | 0.1083 |  | Sum of B.fans | 25 |  | Sum of B.fans | 4951.4058 | 0 | 576113.5731 | 0 | 35254.4541 | 0 | 98330.6963 | 0 | 45179.4943 | 0 | 26135.1982 | 0 | 4718.0062 | 0 | 569008.7781 | 0 | 38383.1202 | 0 | 81136.9257 | 0 | 44001.382 | 0 | 21822.8627 | 0 | 5543.2405 | 0 | 690910.0555 | 0 | 41472.8863 | 0 | 87627.6575 | 0 | 45790.7789 | 0 | 25951.8128 | 0 | 4326.2283 | 0 | 549197.5976 | 0 | 40392.0239 | 0 | 79628.164 | 0 | 43092.7907 | 0 | 20014.0158 | 0 | 4303.9998 | 0 | 559800.6081 | 0 | 41450.6578 | 0 | 78780.7011 | 0 | 42731.577 | 0 | 19247.1314 | 0
[6 empty] | 0 |  | ASHRAE 90.1-2019 | [13 empty] | Sum of B.pumps | 26 |  | Sum of B.pumps | 0 | 0 | 152379.3754 | 0 | 0 | 0 | 97.2498 | 0 | 72.2427 | 0 | 0 | 0 | 0 | 0 | 110222.9617 | 0 | 0 | 0 | 405.6707 | 0 | 72.2427 | 0 | 0 | 0 | 0 | 0 | 116622.0008 | 0 | 0 | 0 | 238.9567 | 0 | 72.2427 | 0 | 0 | 0 | 0 | 0 | 88161.1423 | 0 | 0 | 0 | 702.9774 | 0 | 72.2427 | 0 | 0 | 0 | 0 | 0 | 75221.3572 | 0 | 0 | 0 | 1094.7553 | 0 | 72.2427 | 0 | 0 | 0
shift: | 17 |  | 19 | 28 | 18 | 0 |  | Heating, Humidification | #VALUE! | 0.0001212 | 0 | 0.0015432 | 3.0739 | 0 | 0.1675 | 0 | 0.70447 | 0.00035631 | 0.089891 | 0 |  | Sum of B.heatRej | 27 |  | Sum of B.heatRej | 0 | 0 | 461614.3972 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 306820.4473 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 303161.075 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 213474.4996 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 171943.2634 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 20 | 27 | 18 | 0 |  | Cooling | #VALUE! | 0.019569 | 0 | 0.034868 | 0 | 0.041507 | 0 | 0.034688 | 0 | 0.031391 | 0 | 0.018436 |  | Sum of B.humid | 28 |  | Sum of B.humid | 0 | 0 | 76941.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 218631.5194 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 400347.0019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 333536.366 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 237322.9375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 25 | 26 | 29 | 0 |  | Fans, Pumps, Heat Recovery | #VALUE! | 0.0089993 | 0 | 0.014891 | 0 | 0.014278 | 0 | 0.016673 | 0 | 0.010474 | 0 | 0.0077458 |  | Sum of B.heatRec | 29 |  | Sum of B.heatRec | 0 | 0 | 13965.0761 | 0 | 0 | 0 | 24882.0646 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11353.2235 | 0 | 0 | 0 | 24704.2364 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12317.3861 | 0 | 0 | 0 | 20033.4658 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10144.547 | 0 | 0 | 0 | 19044.296 | 0 | 0 | 0 | 0 | 0
|  |  | 21 | 22 | 18 | 0 |  | Lighting, Interior & Exterior | #VALUE! | 0.015933 | 0 | 0.016271 | 0 | 0.030248 | 0 | 0.011627 | 0 | 0.014718 | 0 | 0.0090074 |  | Sum of B.swh | 30 |  | Sum of B.swh | 5004.1986 | 0 | 0 | 443151.8945 | 0 | 82971.9107 | 7177.0377 | 92525.9073 | 0 | 453767.4462 | 88983.598 | 0 | 5004.1986 | 0 | 0 | 501016.1296 | 0 | 86526.2249 | 7179.8163 | 105321.4384 | 0 | 515783.1204 | 100650.7995 | 0 | 5004.1986 | 0 | 0 | 486258.6171 | 0 | 85587.8859 | 7179.8163 | 102146.251 | 0 | 499196.3208 | 97641.6118 | 0 | 5004.1986 | 0 | 0 | 547212.7361 | 0 | 89331.7636 | 7179.8163 | 114572.1335 | 0 | 568927.2263 | 109881.198 | 0 | 5004.1986 | 0 | 0 | 586566.1029 | 0 | 91672.8718 | 7179.8163 | 122230.4958 | 0 | 614365.579 | 117633.3991 | 0
|  |  | 23 | 33 | 31 | 0 |  | Plugs, Refrigeration, Other | #VALUE! | 0.024387 | 0 | 0.092688 | 0 | 0.021864 | 0 | 0.044594 | 7.9207 | 0.035866 | 11.8401 | 0.042087 |  | Sum of B.refrg | 31 |  | Sum of B.refrg | 0 | 0 | 0 | 0 | 0 | 0 | 12584.1285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12509.1072 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12417.4145 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12506.3286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12486.8787 | 0 | 0 | 0 | 0 | 0
|  |  | 30 | 18 | 18 | 0 |  | Service Water Heating (SWH) | #VALUE! | 0.0090952 | 0 | 0 | 17.9472 | 0 | 1.1219 | 0.00097041 | 2.1417 | 0 | 13.4485 | 0.026373 |  | Sum of B.total | 32 |  | Sum of B.total | 42973.3123 | 0 | 7990443.6869 | 519053.0894 | 266420.0878 | 95359.8804 | 802836.2786 | 465150.7298 | 400941.6151 | 856295.8989 | 349718.7383 | 1867.1997 | 39197.2402 | 1402.7693 | 7517684.4587 | 837718.6833 | 224021.9388 | 249086.3391 | 675402.8749 | 660770.7052 | 365014.7479 | 939229.8969 | 331869.226 | 40026.317 | 39758.5107 | 161.1289 | 7914844.4446 | 820572.6716 | 227706.3182 | 141044.6656 | 661801.791 | 576329.678 | 359768.814 | 908681.7511 | 338248.8151 | 10094.2523 | 38488.7057 | 2919.2767 | 7268160.8349 | 1225271.6255 | 208948.2145 | 468667.1313 | 625988.845 | 747268.4956 | 357590.4178 | 1026391.1592 | 328796.1312 | 119841.9967 | 38697.0982 | 12350.0571 | 7076203.5557 | 1750978.3911 | 194093.997 | 679205.7482 | 585744.0852 | 1017633.3291 | 359527.0787 | 1104680.8534 | 326495.478 | 221504.8609
|  |  | 32 | 18 | 18 | 0 |  | Total | #VALUE! | 0.078105 | 0 | 0.16026 | 21.0211 | 0.1079 | 1.2894 | 0.10855 | 10.7669 | 0.092806 | 25.3785 | 0.10365 |  | Sum of B.extEqp.rev | 33 |  | Sum of B.extEqp.rev | 0 | 0 | 543384.8361 | 0 | 0 | 0 | 4743.0133 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 543387.6147 | 0 | 0 | 0 | 4745.7919 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 543384.8361 | 0 | 0 | 0 | 4745.7919 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 543387.6147 | 0 | 0 | 0 | 4745.7919 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 543387.6147 | 0 | 0 | 0 | 4743.0133 | 0 | 0 | 0 | 0 | 0
[8 empty] | Total Savings | 0.47471 | 0.0047471 | 0 | 0.0066849 | 2.4394 | 0.010287 | -0.036011 | 0.0079 | 0.25888 | 0.0087257 | -0.016293 | 0.0046536 |  | Sum of B.sum | 34 |  | Sum of B.sum | 42973.3123 | 0 | 7990443.6869 | 519053.0894 | 266420.0878 | 95359.8804 | 802836.2786 | 465150.7298 | 400941.6151 | 856295.8989 | 349718.7383 | 1867.1997 | 39197.2402 | 1402.7693 | 7517684.4587 | 837718.6833 | 224021.9388 | 249086.3391 | 675402.8749 | 660770.7052 | 365014.7479 | 939229.8969 | 331869.226 | 40026.317 | 39758.5107 | 161.1289 | 7914844.4446 | 820572.6716 | 227706.3182 | 141044.6656 | 661801.791 | 576329.678 | 359768.814 | 908681.7511 | 338248.8151 | 10094.2523 | 38488.7057 | 2919.2767 | 7268160.8349 | 1225271.6255 | 208948.2145 | 468667.1313 | 625988.845 | 747268.4956 | 357590.4178 | 1026391.1592 | 328796.1312 | 119841.9967 | 38697.0982 | 12350.0571 | 7076203.5557 | 1750978.3911 | 194093.997 | 679205.7482 | 585744.0852 | 1017633.3291 | 359527.0787 | 1104680.8534 | 326495.478 | 221504.8609
| Moving to the ANSI/ASHRAE/IES Standard 90.1-2019 version from the Base Code (90.1-2016) is cost-effective for all building types and climate zones in the State of US National. Table 1 shows the statewide economic impact of upgrading to 90.1-2019 in terms of the annual energy cost savings in dollars per square foot, the additional cost per square foot required by the upgrade, and the simple payback period in years. Figure 1 includes annual energy cost savings, first cost for the upgrade, and net annualized LCC savings per square foot for Scenario 2. Average values are weighted averages for all building types considered in all climate zones in the state, based on weightings shown in Table 6. |  |  |  |  | B |  | Table 12.B. Annual Energy Usage for Buildings in the State of US National in Climate Zone 3A
[8 empty] | Energy | Small Office |  | Large Office |  | Stand-Alone Retail |  | Primary School |  | Small Hotel |  | Mid-Rise Apartment
[8 empty] | End-Use | Electric | Gas | Electric | Gas | Electric | Gas | Electric | Gas | Electric | Gas | Electric | Gas
[5 empty] | Climate zone: | 3A |  |  | kWh/ | therms/ | kWh/ | therms/ | kWh/ | therms/ | kWh/ | therms/ | kWh/ | therms/ | kWh/ | therms/
[9 empty] | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr
|  |  | End Uses |  |  | ColOfst |  | ASHRAE 90.1-2016
|  |  | 2 | 11 | 1 | 12 |  | Heating, Humidification | 1.783 | 0.0025958 | 0.0026424 | 0.0040431 | 27.2342 | 0 | 1.9847 | 0 | 6.2386 | 0.0024003 | 0.67812 | 0
|  |  | 3 | 10 | 1 | 12 |  | Cooling | 0 | 0.01107 | 0 | 0.026366 | 0 | 0.024392 | 0 | 0.021505 | 0 | 0.022229 | 0 | 0.011455
|  |  | 8 | 9 | 12 | 12 |  | Fans, Pumps, Heat Recovery | 0 | 0.0093174 | 0 | 0.014323 | 0 | 0.016376 | 0 | 0.015488 | 0 | 0.010748 | 0 | 0.0066992
|  |  | 4 | 5 | 1 | 12 |  | Lighting, Interior & Exterior | 0 | 0.019226 | 0 | 0.019628 | 0 | 0.037479 | 0 | 0.014372 | 0 | 0.021444 | 0 | 0.010547
|  |  | 6 | 16 | 14 | 12 |  | Plugs, Refrigeration, Other | 0 | 0.024387 | 0 | 0.092689 | 0 | 0.021864 | 0 | 0.04602 | 7.9207 | 0.035866 | 11.8401 | 0.042087
|  |  | 13 | 1 | 1 | 12 |  | Service Water Heating (SWH) | 0 | 0.0090952 | 0 | 0 | 20.2933 | 0 | 1.1698 | 0.00097078 | 2.4445 | 0 | 15.2849 | 0.029871
|  |  | 15 | 1 | 1 | 12 |  | Total | 1.783 | 0.075691 | 0.0026424 | 0.15705 | 47.5275 | 0.10011 | 3.1545 | 0.098356 | 16.6038 | 0.092688 | 27.803 | 0.10066
[6 empty] | 12 |  | ASHRAE 90.1-2019
|  |  | 19 | 28 | 18 | 12 |  | Heating, Humidification | 0.33937 | 0.0026463 | 0.0028135 | 0.004385 | 13.6361 | 0 | 2.198 | 0 | 4.9363 | 0.0027579 | 0.70986 | 0
|  |  | 20 | 27 | 18 | 12 |  | Cooling | 0 | 0.010524 | 0 | 0.023538 | 0 | 0.022873 | 0 | 0.019656 | 0 | 0.020898 | 0 | 0.010965
|  |  | 25 | 26 | 29 | 12 |  | Fans, Pumps, Heat Recovery | 0 | 0.0085751 | 0 | 0.013851 | 0 | 0.015545 | 0 | 0.014366 | 0 | 0.010202 | 0 | 0.0064678
|  |  | 21 | 22 | 18 | 12 |  | Lighting, Interior & Exterior | 0 | 0.016014 | 0 | 0.016318 | 0 | 0.030445 | 0 | 0.011745 | 0 | 0.014766 | 0 | 0.0090083
|  |  | 23 | 33 | 31 | 12 |  | Plugs, Refrigeration, Other | 0 | 0.024387 | 0 | 0.092688 | 0 | 0.021864 | 0 | 0.044584 | 7.9207 | 0.035866 | 11.8401 | 0.042087
|  |  | 30 | 18 | 18 | 12 |  | Service Water Heating (SWH) | 0 | 0.0090952 | 0 | 0 | 20.2906 | 0 | 1.1699 | 0.00097078 | 2.4379 | 0 | 15.2865 | 0.02983
|  |  | 32 | 18 | 18 | 12 |  | Total | 0.33937 | 0.071242 | 0.0028135 | 0.15078 | 33.9267 | 0.090727 | 3.3679 | 0.091321 | 15.2949 | 0.08449 | 27.8365 | 0.098358
[8 empty] | Total Savings | 1.4436 | 0.0044491 | -0.00017109 | 0.0062705 | 13.6008 | 0.0093849 | -0.21338 | 0.0070348 | 1.3089 | 0.0081977 | -0.033428 | 0.0023009
[6 empty] | C |  | Table 12.C. Annual Energy Usage for Buildings in the State of US National in Climate Zone 3B
[8 empty] | Energy | Small Office |  | Large Office |  | Stand-Alone Retail |  | Primary School |  | Small Hotel |  | Mid-Rise Apartment
[8 empty] | End-Use | Electric | Gas | Electric | Gas | Electric | Gas | Electric | Gas | Electric | Gas | Electric | Gas
[5 empty] | Climate zone: | 3B |  |  | kWh/ | therms/ | kWh/ | therms/ | kWh/ | therms/ | kWh/ | therms/ | kWh/ | therms/ | kWh/ | therms/
[9 empty] | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr
|  |  | End Uses |  |  | ColOfst |  | ASHRAE 90.1-2016
|  |  | 2 | 11 | 1 | 24 |  | Heating, Humidification | 21.2975 | 0.00098477 | 0.00028515 | 0.0085122 | 11.2673 | 0 | 0.59451 | 0 | 3.3497 | 0.00085283 | 0.23962 | 0
|  |  | 3 | 10 | 1 | 24 |  | Cooling | 0 | 0.012322 | 0 | 0.027081 | 0 | 0.023803 | 0 | 0.022387 | 0 | 0.022305 | 0 | 0.012432
|  |  | 8 | 9 | 12 | 24 |  | Fans, Pumps, Heat Recovery | 0 | 0.010903 | 0 | 0.016663 | 0 | 0.017675 | 0 | 0.01429 | 0 | 0.011199 | 0 | 0.0075243
|  |  | 4 | 5 | 1 | 24 |  | Lighting, Interior & Exterior | 0 | 0.019211 | 0 | 0.019555 | 0 | 0.038429 | 0 | 0.014515 | 0 | 0.021442 | 0 | 0.010547
|  |  | 6 | 16 | 14 | 24 |  | Plugs, Refrigeration, Other | 0 | 0.024387 | 0 | 0.092689 | 0 | 0.021864 | 0 | 0.045993 | 7.9207 | 0.035866 | 11.8401 | 0.042087
|  |  | 13 | 1 | 1 | 24 |  | Service Water Heating (SWH) | 0 | 0.0090952 | 0 | 0 | 19.693 | 0 | 1.1571 | 0.00097078 | 2.3659 | 0 | 14.7935 | 0.028975
|  |  | 15 | 1 | 1 | 24 |  | Total | 21.2975 | 0.076903 | 0.00028515 | 0.1645 | 30.9603 | 0.10177 | 1.7516 | 0.098156 | 13.6363 | 0.091664 | 26.8732 | 0.10157
[6 empty] | 24 |  | ASHRAE 90.1-2019
|  |  | 19 | 28 | 18 | 24 |  | Heating, Humidification | 7.2749 | 0.0010201 | 0.00032317 | 0.0080296 | 13.5394 | 0 | 0.74983 | 0 | 3.0553 | 0.0010683 | 0.29608 | 0
|  |  | 20 | 27 | 18 | 24 |  | Cooling | 0 | 0.011691 | 0 | 0.025561 | 0 | 0.022283 | 0 | 0.020179 | 0 | 0.020957 | 0 | 0.012524
|  |  | 25 | 26 | 29 | 24 |  | Fans, Pumps, Heat Recovery | 0 | 0.010075 | 0 | 0.016196 | 0 | 0.016796 | 0 | 0.01188 | 0 | 0.010616 | 0 | 0.0076915
|  |  | 21 | 22 | 18 | 24 |  | Lighting, Interior & Exterior | 0 | 0.015994 | 0 | 0.016271 | 0 | 0.031275 | 0 | 0.01188 | 0 | 0.014769 | 0 | 0.0090083
|  |  | 23 | 33 | 31 | 24 |  | Plugs, Refrigeration, Other | 0 | 0.024387 | 0 | 0.092688 | 0 | 0.021864 | 0 | 0.044572 | 7.9207 | 0.035866 | 11.8401 | 0.042087
|  |  | 30 | 18 | 18 | 24 |  | Service Water Heating (SWH) | 0 | 0.0090952 | 0 | 0 | 19.693 | 0 | 1.1572 | 0.00097078 | 2.3644 | 0 | 14.7949 | 0.028939
|  |  | 32 | 18 | 18 | 24 |  | Total | 7.2749 | 0.072262 | 0.00032317 | 0.15875 | 33.2323 | 0.092219 | 1.9071 | 0.089482 | 13.3403 | 0.083276 | 26.9311 | 0.10025
[8 empty] | Total Savings | 14.0226 | 0.004641 | -3.802e-05 | 0.0057541 | -2.272 | 0.0095526 | -0.15545 | 0.0086739 | 0.29596 | 0.0083881 | -0.057867 | 0.0013168
[6 empty] | D |  | Table 12.D. Annual Energy Usage for Buildings in the State of US National in Climate Zone 4A
[8 empty] | Energy | Small Office |  | Large Office |  | Stand-Alone Retail |  | Primary School |  | Small Hotel |  | Mid-Rise Apartment
[8 empty] | End-Use | Electric | Gas | Electric | Gas | Electric | Gas | Electric | Gas | Electric | Gas | Electric | Gas
[5 empty] | Climate zone: | 4A |  |  | kWh/ | therms/ | kWh/ | therms/ | kWh/ | therms/ | kWh/ | therms/ | kWh/ | therms/ | kWh/ | therms/
[9 empty] | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr
|  |  | End Uses |  |  | ColOfst |  | ASHRAE 90.1-2016
|  |  | 2 | 11 | 1 | 36 |  | Heating, Humidification | 6.6495 | 0.005035 | 0.0054559 | 0.0043517 | 34.6622 | 0 | 4.7679 | 0 | 7.6765 | 0.0055131 | 1.7234 | 0
|  |  | 3 | 10 | 1 | 36 |  | Cooling | 0 | 0.0079994 | 0 | 0.020733 | 0 | 0.01613 | 0 | 0.014592 | 0 | 0.01693 | 0 | 0.0081057
|  |  | 8 | 9 | 12 | 36 |  | Fans, Pumps, Heat Recovery | 0 | 0.0085549 | 0 | 0.013702 | 0 | 0.017072 | 0 | 0.015135 | 0 | 0.010539 | 0 | 0.0060782
|  |  | 4 | 5 | 1 | 36 |  | Lighting, Interior & Exterior | 0 | 0.018968 | 0 | 0.019611 | 0 | 0.038307 | 0 | 0.014291 | 0 | 0.021247 | 0 | 0.010544
|  |  | 6 | 16 | 14 | 36 |  | Plugs, Refrigeration, Other | 0 | 0.024387 | 0 | 0.092689 | 0 | 0.021864 | 0 | 0.046018 | 7.9207 | 0.035866 | 11.8401 | 0.042087
|  |  | 13 | 1 | 1 | 36 |  | Service Water Heating (SWH) | 0 | 0.0090952 | 0 | 0 | 22.1623 | 0 | 1.2077 | 0.00097078 | 2.6579 | 0 | 16.8591 | 0.032557
|  |  | 15 | 1 | 1 | 36 |  | Total | 6.6495 | 0.07404 | 0.0054559 | 0.15109 | 56.8245 | 0.093373 | 5.9756 | 0.091007 | 18.2552 | 0.090095 | 30.4225 | 0.099372
[6 empty] | 36 |  | ASHRAE 90.1-2019
|  |  | 19 | 28 | 18 | 36 |  | Heating, Humidification | 1.8347 | 0.0051663 | 0.0058551 | 0.0066896 | 27.4607 | 0 | 5.129 | 0 | 6.7244 | 0.0064264 | 1.718 | 0
|  |  | 20 | 27 | 18 | 36 |  | Cooling | 0 | 0.0075954 | 0 | 0.017047 | 0 | 0.015136 | 0 | 0.0137 | 0 | 0.015831 | 0 | 0.0078578
|  |  | 25 | 26 | 29 | 36 |  | Fans, Pumps, Heat Recovery | 0 | 0.007863 | 0 | 0.01303 | 0 | 0.016358 | 0 | 0.01357 | 0 | 0.0099914 | 0 | 0.0059317
|  |  | 21 | 22 | 18 | 36 |  | Lighting, Interior & Exterior | 0 | 0.015847 | 0 | 0.01632 | 0 | 0.031263 | 0 | 0.011815 | 0 | 0.014657 | 0 | 0.009005
|  |  | 23 | 33 | 31 | 36 |  | Plugs, Refrigeration, Other | 0 | 0.024387 | 0 | 0.092688 | 0 | 0.021864 | 0 | 0.044584 | 7.9207 | 0.035866 | 11.8401 | 0.042087
|  |  | 30 | 18 | 18 | 36 |  | Service Water Heating (SWH) | 0 | 0.0090952 | 0 | 0 | 22.1615 | 0 | 1.2079 | 0.00097078 | 2.652 | 0 | 16.8616 | 0.032566
|  |  | 32 | 18 | 18 | 36 |  | Total | 1.8347 | 0.069954 | 0.0058551 | 0.14577 | 49.6222 | 0.084622 | 6.3369 | 0.08464 | 17.2971 | 0.082772 | 30.4197 | 0.097447
[8 empty] | Total Savings | 4.8149 | 0.0040855 | -0.00039921 | 0.0053124 | 7.2023 | 0.0087514 | -0.36127 | 0.0063668 | 0.95808 | 0.0073236 | 0.0028091 | 0.0019245
[6 empty] | E |  | Table 12.E. Annual Energy Usage for Buildings in the State of US National in Climate Zone 5A
[8 empty] | Energy | Small Office |  | Large Office |  | Stand-Alone Retail |  | Primary School |  | Small Hotel |  | Mid-Rise Apartment
[8 empty] | End-Use | Electric | Gas | Electric | Gas | Electric | Gas | Electric | Gas | Electric | Gas | Electric | Gas
[5 empty] | Climate zone: | 5A |  |  | kWh/ | therms/ | kWh/ | therms/ | kWh/ | therms/ | kWh/ | therms/ | kWh/ | therms/ | kWh/ | therms/
[9 empty] | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr | ft2·yr
|  |  | End Uses |  |  | ColOfst |  | ASHRAE 90.1-2016
|  |  | 2 | 11 | 1 | 48 |  | Heating, Humidification | 19.0356 | 0.0085549 | 0.023439 | 0.0070633 | 56.5685 | 0 | 7.512 | 0 | 14.3555 | 0.009749 | 2.7678 | 0
|  |  | 3 | 10 | 1 | 48 |  | Cooling | 0 | 0.0048935 | 0 | 0.014584 | 0 | 0.0093759 | 0 | 0.0090958 | 0 | 0.012821 | 0 | 0.0054301
|  |  | 8 | 9 | 12 | 48 |  | Fans, Pumps, Heat Recovery | 0 | 0.0085397 | 0 | 0.013411 | 0 | 0.017595 | 0 | 0.015032 | 0 | 0.010472 | 0 | 0.0058592
|  |  | 4 | 5 | 1 | 48 |  | Lighting, Interior & Exterior | 0 | 0.018988 | 0 | 0.019604 | 0 | 0.038306 | 0 | 0.014163 | 0 | 0.021233 | 0 | 0.010545
|  |  | 6 | 16 | 14 | 48 |  | Plugs, Refrigeration, Other | 0 | 0.024387 | 0 | 0.092689 | 0 | 0.021864 | 0 | 0.046015 | 7.9207 | 0.035866 | 11.8401 | 0.042087
|  |  | 13 | 1 | 1 | 48 |  | Service Water Heating (SWH) | 0 | 0.0090952 | 0 | 0 | 23.7561 | 0 | 1.2394 | 0.00097078 | 2.837 | 0 | 18.2069 | 0.034853
|  |  | 15 | 1 | 1 | 48 |  | Total | 19.0356 | 0.074459 | 0.023439 | 0.14735 | 80.3245 | 0.087141 | 8.7514 | 0.085278 | 25.1131 | 0.090141 | 32.8147 | 0.098774
[6 empty] | 48 |  | ASHRAE 90.1-2019
|  |  | 19 | 28 | 18 | 48 |  | Heating, Humidification | 21.7815 | 0.0085953 | 0.02477 | 0.0047599 | 47.1575 | 0 | 7.944 | 0 | 12.8053 | 0.010918 | 2.6917 | 0
|  |  | 20 | 27 | 18 | 48 |  | Cooling | 0 | 0.0045804 | 0 | 0.015222 | 0 | 0.0087278 | 0 | 0.0085819 | 0 | 0.011879 | 0 | 0.0051049
|  |  | 25 | 26 | 29 | 48 |  | Fans, Pumps, Heat Recovery | 0 | 0.0078226 | 0 | 0.01294 | 0 | 0.016787 | 0 | 0.013375 | 0 | 0.0099078 | 0 | 0.0057044
|  |  | 21 | 22 | 18 | 48 |  | Lighting, Interior & Exterior | 0 | 0.015852 | 0 | 0.016315 | 0 | 0.031227 | 0 | 0.01169 | 0 | 0.014649 | 0 | 0.0090058
|  |  | 23 | 33 | 31 | 48 |  | Plugs, Refrigeration, Other | 0 | 0.024387 | 0 | 0.092688 | 0 | 0.021864 | 0 | 0.044581 | 7.9207 | 0.035866 | 11.8401 | 0.042087
|  |  | 30 | 18 | 18 | 48 |  | Service Water Heating (SWH) | 0 | 0.0090952 | 0 | 0 | 23.7553 | 0 | 1.2395 | 0.00097078 | 2.8293 | 0 | 18.2083 | 0.034864
|  |  | 32 | 18 | 18 | 48 |  | Total | 21.7815 | 0.070333 | 0.02477 | 0.14192 | 70.9128 | 0.078606 | 9.1835 | 0.079198 | 23.5552 | 0.08322 | 32.74 | 0.096765
[8 empty] | Total Savings | -2.7459 | 0.0041259 | -0.0013307 | 0.0054266 | 9.4118 | 0.0085353 | -0.43214 | 0.006079 | 1.5579 | 0.006921 | 0.074722 | 0.0020085

## _Summary (hidden)
Worksheet | StateReport | StateReport | StateReport | StateReport | State Inputs | State Inputs | State Inputs | State Inputs | State Inputs | Result Tables | Result Tables | Result Tables | Result Tables | Result Tables | Result Tables | Result Tables | Result Tables | Result Tables | Result Tables
Range | $G$51 | $G$52 | $G$63 | $G$64 | $G$8 | $H$8 | $I$8 | $J$8 | $K$8 | $I$20 | $I$21 | $I$22 | $I$23 | $I$24 | $I$30 | $I$31 | $I$32 | $I$33 | $I$34
Item Num | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19
Item Count | 19
State | Highlights |  |  |  | State Climate Zones |  |  |  |  | LCC Savings Scenario 1 |  |  |  |  | LCC Savings Scenario 2
| Annual Energy Cost Savings | Added Construction Cost | LCC Savings Scenario 1 | LCC Savings Scenario 2 | CZ 1 | CZ 2 | CZ 3 | CZ 4 | CZ 5 | CZ1 | CZ2 | CZ3 | CZ4 | CZ5 | CZ1 | CZ2 | CZ3 | CZ4 | CZ5
Alabama | 0.145 | -0.99358 | 3.3789 | 2.5645 | 2A | 3A | 0 | 0 | 0 | 6.0246 | 2.9531 | 0 | 0 | 0 | 4.2303 | 2.2964 | 0 | 0 | 0
Arkansas | 0.11588 | -0.16067 | 1.946 | 1.5604 | 3A | 4A | 0 | 0 | 0 | 2.2772 | 1.3389 | 0 | 0 | 0 | 1.7077 | 1.2904 | 0 | 0 | 0
Colorado | 0.10659 | 0.29316 | 1.6302 | 1.4354 | 4B | 5B | 6B | 7 | 0 | 2.0293 | 1.7172 | 0.89439 | 0.37119 | 0 | 1.9105 | 1.498 | 0.89839 | 0.53287 | 0
Connecticut | 0.19295 | -1.1713 | 4.5333 | 3.4794 | 5A | 0 | 0 | 0 | 0 | 4.5333 | 0 | 0 | 0 | 0 | 3.4794 | 0 | 0 | 0 | 0
Delaware | 0.14373 | -3.4191 | 5.9547 | 4.0478 | 4A | 0 | 0 | 0 | 0 | 5.9547 | 0 | 0 | 0 | 0 | 4.0478 | 0 | 0 | 0 | 0
District of Columbia | 0.053714 | -23.1645 | 24.3529 | 13.9202 | 4A | 0 | 0 | 0 | 0 | 24.3529 | 0 | 0 | 0 | 0 | 13.9202 | 0 | 0 | 0 | 0
Georgia | 0.12776 | -0.20713 | 2.3993 | 1.9543 | 2A | 3A | 4A | 0 | 0 | 3.2322 | 2.334 | 2.1393 | 0 | 0 | 2.6656 | 1.8818 | 1.9658 | 0 | 0
Iowa | 0.13115 | -1.2545 | 3.4936 | 2.5371 | 5A | 6A | 0 | 0 | 0 | 3.7346 | 1.9083 | 0 | 0 | 0 | 2.666 | 1.6888 | 0 | 0 | 0
Kentucky | 0.13949 | -0.019491 | 2.3649 | 1.9525 | 4A | 0 | 0 | 0 | 0 | 2.3649 | 0 | 0 | 0 | 0 | 1.9525 | 0 | 0 | 0 | 0
Massachusetts | 0.15073 | -2.9 | 5.6314 | 3.9417 | 5A | 0 | 0 | 0 | 0 | 5.6314 | 0 | 0 | 0 | 0 | 3.9417 | 0 | 0 | 0 | 0
Montana | 0.15082 | 0.48046 | 1.7037 | 1.4855 | 6B | 0 | 0 | 0 | 0 | 1.7037 | 0 | 0 | 0 | 0 | 1.4855 | 0 | 0 | 0 | 0
Nebraska | 0.12975 | -0.75994 | 2.8021 | 2.1109 | 5A | 0 | 0 | 0 | 0 | 2.8021 | 0 | 0 | 0 | 0 | 2.1109 | 0 | 0 | 0 | 0
New Jersey | 0.14315 | 0.074569 | 2.502 | 2.1123 | 4A | 5A | 0 | 0 | 0 | 2.904 | 1.6939 | 0 | 0 | 0 | 2.3321 | 1.6706 | 0 | 0 | 0
New York | 0.15385 | 0.59702 | 2.1162 | 1.9234 | 4A | 5A | 6A | 0 | 0 | 1.4178 | 3.247 | 3.3841 | 0 | 0 | 1.4331 | 2.7569 | 2.6897 | 0 | 0
North Carolina | 0.12491 | -1.2307 | 3.319 | 2.3679 | 3A | 4A | 5A | 0 | 0 | 4.1817 | 1.7111 | 2.1603 | 0 | 0 | 2.8342 | 1.4066 | 1.7431 | 0 | 0
Oklahoma | 0.11852 | -0.97019 | 2.7907 | 2.0668 | 3A | 4B | 0 | 0 | 0 | 2.7983 | 1.8941 | 0 | 0 | 0 | 2.0721 | 1.4539 | 0 | 0 | 0
Rhode Island | 0.1564 | -2.7314 | 5.3788 | 3.7382 | 5A | 0 | 0 | 0 | 0 | 5.3788 | 0 | 0 | 0 | 0 | 3.7382 | 0 | 0 | 0 | 0
South Carolina | 0.12975 | -0.97251 | 3.1106 | 2.3552 | 3A | 0 | 0 | 0 | 0 | 3.1106 | 0 | 0 | 0 | 0 | 2.3552 | 0 | 0 | 0 | 0
Texas | 0.10532 | -0.24034 | 1.9704 | 1.5859 | 2A | 2B | 3A | 3B | 4B | 2.5225 | 1.8665 | 2.1026 | 2.0172 | 1.9063 | 2.1421 | 1.5167 | 1.6695 | 1.5948 | 1.5667
US National | 0.13788 | 0.061542 | 2.3176 | 1.9495 | 2A | 3A | 3B | 4A | 5A | 3.1816 | 2.5978 | 2.5099 | 1.4831 | 2.1593 | 2.584 | 2.0736 | 1.9667 | 1.4019 | 1.8904
Utah | 0.10855 | 0.12834 | 1.9365 | 1.6581 | 3B | 5B | 6B | 0 | 0 | 2.7372 | 2.0068 | 0.74557 | 0 | 0 | 2.2295 | 1.7085 | 0.80557 | 0 | 0
Virginia | 0.087472 | -3.4406 | 5.0328 | 3.347 | 4A | 0 | 0 | 0 | 0 | 5.0328 | 0 | 0 | 0 | 0 | 3.347 | 0 | 0 | 0 | 0
Wisconsin | 0.13906 | -3.1085 | 5.2528 | 3.5371 | 6A | 7 | 0 | 0 | 0 | 5.3349 | 2.4286 | 0 | 0 | 0 | 3.5815 | 2.0105 | 0 | 0 | 0
California | 0.14385 | -0.42253 | 3.054 | 2.4514 | 2B | 3B | 3C | 4B | 5B | 3.9824 | 3.0793 | 2.962 | 2.581 | 2.6295 | 2.9483 | 2.4788 | 2.3411 | 2.3224 | 2.4503
Arizona | 0.12003 | -1.6785 | 3.6485 | 2.6118 | 2B | 3B | 4B | 5B | 0 | 3.8058 | 2.3759 | 2.0182 | 2.1087 | 0 | 2.708 | 1.7247 | 1.6444 | 1.8546 | 0
Florida | 0.15491 | -0.75532 | 3.5142 | 2.7611 | 1A | 2A | 0 | 0 | 0 | 6.3899 | 2.9028 | 0 | 0 | 0 | 4.5699 | 2.3765 | 0 | 0 | 0
Hawaii | 0.59257 | -0.00014919 | 11.4311 | 9.7124 | 1A | 0 | 0 | 0 | 0 | 11.4311 | 0 | 0 | 0 | 0 | 9.7124 | 0 | 0 | 0 | 0
Idaho | 0.10025 | -0.0063169 | 1.8373 | 1.5321 | 5B | 6B | 0 | 0 | 0 | 2.046 | 0.76274 | 0 | 0 | 0 | 1.673 | 0.80649 | 0 | 0 | 0
Illinois | 0.11013 | 0.64096 | 0.97255 | 0.94546 | 4A | 5A | 0 | 0 | 0 | 0.87239 | 0.98029 | 0 | 0 | 0 | 0.92821 | 0.94679 | 0 | 0 | 0
Indiana | 0.14388 | 0.57874 | 1.8885 | 1.7166 | 4A | 5A | 0 | 0 | 0 | 2.3785 | 1.8028 | 0 | 0 | 0 | 1.951 | 1.6756 | 0 | 0 | 0
Kansas | 0.14172 | -0.62599 | 3.0918 | 2.4283 | 4A | 5A | 0 | 0 | 0 | 3.1316 | 1.8291 | 0 | 0 | 0 | 2.4542 | 1.6059 | 0 | 0 | 0
Louisiana | 0.13708 | -1.517 | 3.7296 | 2.704 | 2A | 3A | 0 | 0 | 0 | 3.9764 | 2.451 | 0 | 0 | 0 | 2.8771 | 1.8075 | 0 | 0 | 0
Maine | 0.17467 | -0.55533 | 3.4581 | 2.7178 | 6A | 7 | 0 | 0 | 0 | 3.4654 | 3.1591 | 0 | 0 | 0 | 2.7186 | 2.6843 | 0 | 0 | 0
Maryland | 0.098398 | -4.5004 | 6.4201 | 4.1832 | 4A | 5A | 0 | 0 | 0 | 6.4242 | 0.90718 | 0 | 0 | 0 | 4.1852 | 1.3699 | 0 | 0 | 0
Michigan | 0.17164 | 0.038996 | 2.407 | 2.0477 | 5A | 6A | 7 | 0 | 0 | 2.4276 | 2.1904 | 0 | 0 | 0 | 2.0656 | 1.8596 | 0 | 0 | 0
Minnesota | 0.11283 | -4.1332 | 6.2988 | 3.9855 | 6A | 7 | 0 | 0 | 0 | 6.2988 | 0 | 0 | 0 | 0 | 3.9855 | 0 | 0 | 0 | 0
Mississippi | 0.14401 | -0.41858 | 2.8123 | 2.2447 | 2A | 3A | 0 | 0 | 0 | 3.4037 | 2.6789 | 0 | 0 | 0 | 2.7993 | 2.1197 | 0 | 0 | 0
Missouri | 0.15173 | -1.786 | 3.9755 | 2.8122 | 4A | 5A | 0 | 0 | 0 | 4.0395 | 1.9121 | 0 | 0 | 0 | 2.8492 | 1.6181 | 0 | 0 | 0
Nevada | 0.10283 | -1.2539 | 2.8153 | 2.0659 | 3B | 5B | 0 | 0 | 0 | 3.011 | 1.8663 | 0 | 0 | 0 | 2.1722 | 1.5499 | 0 | 0 | 0
New Hampshire | 0.20731 | -0.10545 | 3.588 | 2.9555 | 5A | 6A | 0 | 0 | 0 | 3.7335 | 3.3255 | 0 | 0 | 0 | 3.0928 | 2.708 | 0 | 0 | 0
New Mexico | 0.13735 | 0.19437 | 2.3085 | 2.0178 | 3B | 4B | 5B | 0 | 0 | 2.8315 | 2.0995 | 0 | 0 | 0 | 2.2397 | 1.9292 | 0 | 0 | 0
North Dakota | 0.14002 | 0.15657 | 1.9513 | 1.6267 | 6A | 7 | 0 | 0 | 0 | 2.6131 | 1.5879 | 0 | 0 | 0 | 2.0286 | 1.4061 | 0 | 0 | 0
Ohio | 0.14427 | -0.018216 | 2.3829 | 1.9631 | 4A | 5A | 0 | 0 | 0 | 5.9788 | 1.9105 | 0 | 0 | 0 | 4.1895 | 1.6706 | 0 | 0 | 0
Oregon | 0.097106 | -0.25258 | 1.8866 | 1.4948 | 4C | 5B | 0 | 0 | 0 | 1.9573 | 1.4524 | 0 | 0 | 0 | 1.5284 | 1.2883 | 0 | 0 | 0
Pennsylvania | 0.12978 | -1.7579 | 3.8598 | 2.7026 | 4A | 5A | 6A | 0 | 0 | 7.0525 | 1.8089 | 0 | 0 | 0 | 4.3974 | 1.6139 | 0 | 0 | 0
South Dakota | 0.1597 | 0.53649 | 2.0169 | 1.7668 | 5A | 6A | 0 | 0 | 0 | 2.5352 | 1.9735 | 0 | 0 | 0 | 2.1034 | 1.7386 | 0 | 0 | 0
Tennessee | 0.13065 | 0.24257 | 1.955 | 1.6843 | 3A | 4A | 0 | 0 | 0 | 3.1141 | 1.7186 | 0 | 0 | 0 | 2.358 | 1.5469 | 0 | 0 | 0
Vermont | 0.12991 | 0.60277 | 1.9678 | 1.8344 | 6A | 0 | 0 | 0 | 0 | 1.9678 | 0 | 0 | 0 | 0 | 1.8344 | 0 | 0 | 0 | 0
Washington | 0.074972 | -3.6753 | 5.0162 | 3.4245 | 4C | 5B | 6B | 0 | 0 | 5.5367 | 1.2105 | 1.4327 | 0 | 0 | 3.7475 | 1.0621 | 1.2227 | 0 | 0
West Virginia | 0.12975 | 0.29548 | 1.4727 | 1.2463 | 4A | 5A | 0 | 0 | 0 | 1.5125 | 1.4492 | 0 | 0 | 0 | 1.2916 | 1.2195 | 0 | 0 | 0
Wyoming | 0.10778 | 0.52823 | 1.3003 | 1.1872 | 5B | 6B | 7 | 0 | 0 | 2.1398 | 1.3962 | 0.54391 | 0 | 0 | 2.0123 | 1.225 | 0.80781 | 0 | 0
Alaska | 0.23106 | -5.5374 | 9.6673 | 6.5647 | 7 | 8 | 0 | 0 | 0 | 12.2261 | 5.182 | 0 | 0 | 0 | 7.6467 | 4.6679 | 0 | 0 | 0
Get Key Results for All States

## _PrintToWord (hidden)
Cross-Reference Table
| Work Folder | \\korea\comstd\90.1_cost_effectiveness\90.1_cost_effectiveness_2013_state\LinkedWordReport\Coded\
| Excel Workbook | #VALUE!
| Word Document | State_Template_wBookmarks v2015_10_14a.docx
| Total Number of Bookmars | 75
| Output Document Name Prefix | US
| Number of Climate Zones to Report | 5
Number | Bookmark | Start Char | End Char | Text | Item Type | Worksheet | Range | Copy/Paste As | Formating | Paste Value | Table | Worksheet | Ref Row | Ref Col
1 | b01_state_name | 67 | 74 | Arizona | Text | State Inputs | $A$4 | Value |  | US National | 1 | Result Tables | 19 | 2
2 | b02_state_name | 247 | 254 | Arizona | Text | State Inputs | $A$4 | Value |  | US National | 2 | Result Tables | 29 | 2
3 | b04_state_name | 1213 | 1220 | Arizona | Text | State Inputs | $A$4 | Value |  | US National | 3 | Result Tables | 39 | 2
4 | b05_t1_annual_cost_savings | 1788 | 1794 | $0.120 | Text | StateReport | $G$51 | Value | $0.000 | $0.061 | 4 | Result Tables | 64 | 2
5 | b06_t1_added_construction_cost | 1829 | 1837 | ($1.679) | Text | StateReport | $G$52 | Value | $0.000 | -$1.135 | 5 | Result Tables | 83 | 2
6 | b07_t1_simple_payback | 1878 | 1887 | Immediate | Text | StateReport | $G$53 | Value | 0.0 | Immediate | 6 | Result Tables | 97 | 2
7 | b10_f1 | 2609 | 2610 |  | Chart | StateReport | Chart 3 | Picture |  | Chart 3 | 10 | Energy Results | 6 | 30
8 | b11_f2 | 2660 | 2661 |  | Chart | StateReport | Chart 4 | Picture |  | Chart 4 | 11 | Energy Results | 35 | 30
9 | b12_state_name | 2771 | 2778 | Arizona | Text | State Inputs | $A$4 | Value |  | US National | 12.A | EndUse Tables | 19 | 10
10 | b13_public_LCC_savings | 3933 | 3938 | $3.64 | Text | Result Tables | $I$25 | Value | $0.00 | $4.12 | 12.B | EndUse Tables | 43 | 10
11 | b14_private_LCC_savings | 4311 | 4316 | $2.61 | Text | Result Tables | $I$35 | Value | $0.00 | $3.25 | 12.C | EndUse Tables | 67 | 10
12 | b15_energy_cost_savings | 4741 | 4747 | $0.120 | Text | Result Tables | $I$45 | Value | $0.000 | $0.061 | 12.D | EndUse Tables | 91 | 10
13 | b16_t3 | 4094 | 4095 |  | Table | Result Tables | $B$19:$I$25 | Picture |  | Table $B$19:$I$25 | 12.E | EndUse Tables | 115 | 10
14 | b17_t4 | 4457 | 4458 |  | Table | Result Tables | $B$29:$I$35 | Picture |  | Table $B$29:$I$35
15 | b18_t5 | 4884 | 4885 |  | Table | Result Tables | $B$39:$I$45 | Picture |  | Table $B$39:$I$45
16 | b20_t6 | 5762 | 5763 |  | Table | Result Tables | $B$64:$I$70 | Picture |  | Table $B$64:$I$70
17 | b21_t7 | 7260 | 7261 |  | Table | Result Tables | $B$83:$I$89 | Picture |  | Table $B$83:$I$89
18 | b22_t8 | 7848 | 7849 |  | Table | Result Tables | $B$97:$I$103 | Picture |  | Table $B$97:$I$103
19 | b26_t10_public_elec_price | 15560 | 15567 | $0.1005 | Text | LCC Methodology | $D$118 | Value | $0.0000 | $0.1063
20 | b27_t10_public_gas_price | 15609 | 15616 | $0.8509 | Text | LCC Methodology | $D$119 | Value | $0.0000 | $0.9800
21 | b28_t10_state_sales_tax | 15974 | 15979 | 8.17% | Text | LCC Methodology | $D$127 | Value | 0.00% | 5.00%
22 | b29_t10_private_elec_price | 15568 | 15575 | $0.1005 | Text | LCC Methodology | $E$118 | Value | $0.0000 | $0.1063
23 | b30_t10_private_gas_price | 15617 | 15624 | $0.8509 | Text | LCC Methodology | $E$119 | Value | $0.0000 | $0.9800
24 | b31_t10_state_corporate_tax | 15892 | 15897 | 6.50% | Text | LCC Methodology | $E$125 | Value | 0.00% | 6.50%
25 | b32_t10_state_combined_tax | 15930 | 15936 | 38.29% | Text | LCC Methodology | $E$126 | Value | 0.00% | 26.13%
26 | b33_t10_private_sales_tax | 15980 | 15985 | 8.17% | Text | LCC Methodology | $E$127 | Value | 0.00% | 5.00%
27 | b34_t11_state_elec_price | 19628 | 19635 | $0.1611 | Text | Energy Results | $AF$2 | Value | $0.0000 | $0.1063
28 | b35_t11_state_gas_price | 19645 | 19652 | $0.8080 | Text | Energy Results | $AF$3 | Value | $0.0000 | $0.9800
29 | b36_t11_state_name | 19588 | 19595 | Arizona | Text | State Inputs | $A$4 | Value |  | US National
30 | b37_t12_state_name | 19824 | 19831 | Arizona | Text | State Inputs | $A$4 | Value |  | US National
31 | b38_t12 | 19851 | 19852 |  | Table | Energy Results | $AD$7:$AP$32 | Picture |  | Table $AD$7:$AP$32
32 | b39_t13_state_name | 20030 | 20037 | Arizona | Text | State Inputs | $A$4 | Value |  | US National
33 | b40_t13 | 20066 | 20067 |  | Table | Energy Results | $AD$36:$AP$61 | Picture |  | Table $AD$36:$AP$61
34 | b41_t14a_state_name | 20230 | 20237 | Arizona | Text | State Inputs | $A$4 | Value |  | US National
35 | b42_t14a | 20257 | 20258 |  | Table | EndUse Tables | $J$20:$V$40 | Picture |  | Table $J$20:$V$40
36 | b43_t14b_state_name | 20310 | 20317 | Arizona | Text | State Inputs | $A$4 | Value |  | US National
37 | b44_t14b | 20337 | 20338 |  | Table | EndUse Tables | $J$44:$V$64 | Picture |  | Table $J$44:$V$64
38 | b45_t14c_state_name | 20390 | 20397 | Arizona | Text | State Inputs | $A$4 | Value |  | US National
39 | b46_t14c | 20417 | 20418 |  | Table | EndUse Tables | $J$68:$V$88 | Picture |  | Table $J$68:$V$88
40 | b47_t12_text_ref | 19436 | 19465 | Tables 12.A through 12.E show | Text | StateReport | $O$44 | Value |  | Tables 12.A through 12.E show
41 | b48_t14a_cz_name | 20254 | 20256 | 4A | Text | EndUse Tables | $H$22 | Value | #0 | 2A
42 | b49_t14b_cz_name | 20334 | 20336 | 5A | Text | EndUse Tables | $H$46 | Value | #0 | 3A
43 | b50_t14c_cz_name | 20414 | 20416 | 6A | Text | EndUse Tables | $H$70 | Value | #0 | 3B
44 | b51_t14d_state_name | 20470 | 20477 | Arizona | Text | State Inputs | $A$4 | Value |  | US National
45 | b52_t14d_cz_name | 20494 | 20496 | 6A | Text | EndUse Tables | $H$94 | Value | #0 | 4A
46 | b53_t14d | 20498 | 20499 |  | Table | EndUse Tables | $J$92:$V$112 | Picture |  | Table $J$92:$V$112
47 | b54_t14e_state_name | 20551 | 20558 | Arizona | Text | State Inputs | $A$4 | Value |  | US National
48 | b55_t14e_cz_name | 20575 | 20577 | 6A | Text | EndUse Tables | $H$118 | Value | #0 | 5A
49 | b56_t14e | 20579 | 20580 |  | Table | EndUse Tables | $J$116:$V$136 | Picture |  | Table $J$116:$V$136
50 | b57_cover_report_number | 6 | 11 | XXXXX | Text | State Inputs | $AM$8 | Value | 00000 | 00000
51 | b58_header_report_number | 5 | 10 | XXXXX | Text | State Inputs | $AM$8 | Value | 00000 | 00000
52 | b59_footer4_state_name | 86 | 93 | Arizona | Text | State Inputs | $A$4 | Value |  | US National
53 | b64_footer12_state_name | 85 | 92 | Arizona | Text | State Inputs | $A$4 | Value |  | US National
54 | b65_footer13_state_name | 86 | 93 | Arizona | Text | State Inputs | $A$4 | Value |  | US National
55 | b66_t10_public_const_cost_index | 16019 | 16024 | 0.882 | Text | State Inputs | $V$8 | Value | 0.000 | 1.000
56 | b67_t10_private_const_cost_index | 16025 | 16030 | 0.882 | Text | State Inputs | $V$8 | Value | 0.000 | 1.000
57 | b68_cond1_cost_eff | 1141 | 1212 | overall for the weighted average of building types and climate zones in | Text | StateReport | $O$43 | Value |  | for all building types and climate zones in
58 | b69_table1_footnote | 4096 | 4227 | Note: While the code upgrade is not cost-effective for some building types in some climate zones, it is cost-effective state-wide. | Text | Result Tables | $B$26 | Value
59 | b70_table2_footnote | 4459 | 4590 | Note: While the code upgrade is not cost-effective for some building types in some climate zones, it is cost-effective state-wide. | Text | Result Tables | $B$36 | Value
60 | b71_t10b | 19955 | 19956 |  | Table | Energy Results | $AQ$7:$AY$32 | Picture |  | Table $AQ$7:$AY$32
61 | b72_t10b_state_name | 19928 | 19935 | Arizona | Text | State Inputs | $A$4 | Value |  | US National
62 | b73_t10_name | 19751 | 19761 | Table 10.A | Text | StateReport | $O$47 | Value |  | Table 10.A
63 | b74_t10_text_ref | 19058 | 19098 | Table 10 shows | Text | StateReport | $O$45 | Value |  | Tables 10.A and 10.B show
64 | b75_t11_text_ref | 19245 | 19285 | Table 11 shows | Text | StateReport | $O$46 | Value |  | Tables 11.A and 11.B show
65 | b76_t11_name | 19958 | 19968 | Table 11.A | Text | StateReport | $O$48 | Value |  | Table 11.A
66 | b77_t11b_state_name | 20142 | 20149 | Arizona | Text | State Inputs | $A$4 | Value |  | US National
67 | b78_t11b | 20178 | 20179 |  | Table | Energy Results | $AQ$36:$AY$61 | Picture |  | Table $AQ$36:$AY$61
68 | b79_first_cost_conditional | 2390 | 2435 | net of an allowance to pay for the added cost | Text | StateReport | $O$49 | Value |  | plus the annualized value of first cost savings
69 | Table_10B | 19853 | 19957 | Table 10.B. Energy Cost Saving Results for ASHRAE Standard 90.1-2013 in Arizona, $ per square foot  | Null
70 | Table_11B | 20068 | 20180 | Table 11.B. Energy Use Saving Results for ASHRAE Standard 90.1-2013 in Arizona, Energy Use per Square Foot  | Null
71 | Table_14A | 20181 | 20259 | Table 12.A. Annual Energy Usage for Buildings in Arizona in Climate Zone 4A  | Null
72 | Table_14B | 20259 | 20339 | Table 12.B. Annual Energy Usage for Buildings in Arizona in Climate Zone 5A  | Null
73 | Table_14C | 20339 | 20419 | Table 12.C. Annual Energy Usage for Buildings in Arizona in Climate Zone 6A  | Null
74 | Table_14D | 20419 | 20500 | Table 12.D. Annual Energy Usage for Buildings in Arizona in Climate Zone 6A  | Null
75 | Table_14E | 20500 | 20581 | Table 12.E. Annual Energy Usage for Buildings in Arizona in Climate Zone 6A  | Null
List Bookmarks from Word Document
Generate Word and PDF Reports for Current State
Generate Word and PDF Reports for All States

## first cost summary (hidden)
Note the first costs in column M are hard coded. Use the Cost Est Summary worksheet instead.
| Table 4.7 | Incremental cost
[9 empty] | Prototype | Building First Cost | Incremental Cost for 90.1-2010
| Value | 2A | 3A | 3B | 4A | 5A |  |  |  |  | 2A | 3A | 3B | 4A | 5A | All
|  | Tampa FL | Atlanta GA | El Paso TX | New York NY | Buffalo NY |  |  |  |  | Tampa FL | Atlanta GA | El Paso TX | New York NY | Buffalo NY | CZ
Small Office | First Cost | -9897.2732 | -10155.0252 | -10261.9899 | -9881.275 | -9919.0008 |  |  |  | $/ft2 | $/ft2 | $/ft2 | $/ft2 | $/ft2 | $/ft2 | $/ft2
| $/ft2 | -1.7989 | -1.8457 | -1.8651 | -1.7959 | -1.8028 |  | 5502 | Small Office | 220 | -1.7989 | -1.8457 | -1.8651 | -1.7959 | -1.8028 | -1.8162
Large Office | First Cost | -1026974.268 | -1012495.4547 | -964619.1283 | -1076405.062 | -1034993.1876 |  |  |  |  | -0.0081766 | -0.0083895 | -0.0084779 | -0.0081634 | -0.0081945 | -0.0082555
| $/ft2 | -2.0598 | -2.0307 | -1.9347 | -2.1589 | -2.0758 |  | 498588 | Large Office | 180 | -2.0598 | -2.0307 | -1.9347 | -2.1589 | -2.0758 | -2.084
Standalone Retail | First Cost | -33264.9178 | -33727.2429 | -34252.1204 | -34053.9375 | -34679.4821 |  |  |  |  | -0.011443 | -0.011282 | -0.010748 | -0.011994 | -0.011532 | -0.011578
| $/ft2 | -1.3472 | -1.3659 | -1.3872 | -1.3791 | -1.4045 |  | 24692 | Standalone Retail | 116 | -1.3472 | -1.3659 | -1.3872 | -1.3791 | -1.4045 | -1.3775
Primary School | First Cost | -160140.9931 | -144442.7207 | -157341.1581 | -153556.6139 | -155314.2793 |  |  |  |  | -0.011614 | -0.011775 | -0.011958 | -0.011889 | -0.012108 | -0.011875
| $/ft2 | -2.1653 | -1.953 | -2.1274 | -2.0762 | -2.1 |  | 73959 | Primary School | 225 | -2.1653 | -1.953 | -2.1274 | -2.0762 | -2.1 | -2.0783
Small Hotel | First Cost | 29861.6132 | 29270.7197 | 29394.0837 | 29143.3381 | 28680.3123 |  |  |  |  | -0.0096234 | -0.00868 | -0.0094552 | -0.0092277 | -0.0093334 | -0.0092367
| $/ft2 | 0.69121 | 0.67753 | 0.68039 | 0.67458 | 0.66387 |  | 43202 | Small Hotel | 197 | 0.69121 | 0.67753 | 0.68039 | 0.67458 | 0.66387 | 0.6774
Mid-rise Apartment | First Cost | -11991.507 | -12389.0502 | -13661.202 | -9966.3938 | -9673.5812 |  |  |  |  | 0.0035087 | 0.0034392 | 0.0034537 | 0.0034243 | 0.0033699 | 0.0034386
| $/ft2 | -0.3554 | -0.36718 | -0.40488 | -0.29538 | -0.2867 |  | 33741 | Mid-rise Apartment | 218 | -0.3554 | -0.36718 | -0.40488 | -0.29538 | -0.2867 | -0.33103
[11 empty] | -0.0016303 | -0.0016843 | -0.0018573 | -0.001355 | -0.0013151 | -0.0015185
[9 empty] | All Building Types | 185.1744 | -1.1492 | -1.1865 | -1.1103 | -1.103 | -1.1219 | -1.1347
Named area: |  | Floor Area Sq ft | [8 empty] | -0.0062063 | -0.0064073 | -0.005996 | -0.0059565 | -0.0060588 | -0.0061275
Small Office | sfSO | 5502
Large Office | sfLO | 498588 | [7 empty] | Square foot costs are size-adjusted SF costs from Means Building 2020, page 897
Standalone Retail | sfRS | 24692
Primary School | sfPS | 73959
Small Hotel | sfSH | 43202
Mid-rise Apartment | sfMA | 33741
Construction weighting Factors
[10 empty] | 1 | 2 | 3 | 4 | 5 | 6
| First Cost | 2A | 3A | 3B | 4A | 5A | Typ |  | 1 |  | 2A | 3A | 3B | 4A | 5A | All CZ
Small Office | $/ft2 | -1.7989 | -1.8457 | -1.8651 | -1.7959 | -1.8028 | 220 | -1.8162 | 2 | Small Office | 0.025336 | 0.023024 | 0.0090861 | 0.019059 | 0.022135 | 0.09864
Large Office | $/ft2 | -2.0598 | -2.0307 | -1.9347 | -2.1589 | -2.0758 | 180 | -2.084 | 3 | Large Office | 0.017992 | 0.017948 | 0.0084833 | 0.037221 | 0.015936 | 0.09758
Standalone Retail | $/ft2 | -1.3472 | -1.3659 | -1.3872 | -1.3791 | -1.4045 | 116 | -1.3775 | 4 | Stand-Alone Retail | 0.059235 | 0.058756 | 0.028203 | 0.063391 | 0.078184 | 0.28777
Primary School | $/ft2 | -2.1653 | -1.953 | -2.1274 | -2.0762 | -2.1 | 225 | -2.0783 | 5 | Primary School | 0.032252 | 0.031014 | 0.011845 | 0.029137 | 0.025519 | 0.12977
Small Hotel | $/ft2 | 0.69121 | 0.67753 | 0.68039 | 0.67458 | 0.66387 | 197 | 0.6774 | 6 | Small Hotel | 0.010034 | 0.0088539 | 0.003509 | 0.010054 | 0.0090099 | 0.041461
Mid-rise Apartment | $/ft2 | -0.3554 | -0.36718 | -0.40488 | -0.29538 | -0.2867 | 218 | -0.33103 | 7 | Mid-rise Apartment | 0.074155 | 0.058763 | 0.038875 | 0.099679 | 0.07331 | 0.34478
[7 empty] | All Build | -1.1347 |  | All Build | 0.219 | 0.19836 | 0.1 | 0.25854 | 0.22409 | 1
Note on J35: Zheng, Feng (Richard): modified formula to output zero instead of #DIV/0! When S35:S40 contain zero vaues.

## Cost Eff Results (hidden)
Life cycle cost summary
Prototype |  | Climate Zone | [6 empty] | Scenario 1 | NPV > 0 | pass | 55 |  |  |  |  | Envelope reductions needed
|  | 2A Tampa | 3A Atlanta | 3B El Paso | 4A New York | 5A Buffalo |  |  |  |  | Out of | 55 |  |  |  | 2A | 3A | 3B | 4A | 5A
Life Cycle Cost Net Savings
Small Office | Total | 23100 | 22900 | 23300 | 22000 | 21900
| $/ft2 | 4.1985 | 4.1621 | 4.2348 | 3.9985 | 3.9804 |  | 5502
Large Office | Total | 2190000 | 2190000 | 1950000 | 2140000 | 2110000
| $/ft2 | 4.3924 | 4.3924 | 3.911 | 4.2921 | 4.232 |  | 498588
Standalone Retail | Total | 119000 | 112600 | 116000 | 107000 | 106000
| $/ft2 | 4.8194 | 4.5602 | 4.6979 | 4.3334 | 4.2929 |  | 24692
Primary School | Total | 402000 | 375000 | 403000 | 373000 | 377000 |  |  | Lighting increase in food prep and library not included
| $/ft2 | 5.4354 | 5.0704 | 5.449 | 5.0433 | 5.0974 |  | 73959
Small Hotel | Total | 610710 | 606000 | 608000 | 599000 | 596000 |  |  | Lighting increase LPD in Hotel guest room not included
| $/ft2 | 14.1362 | 14.0271 | 14.0734 | 13.8651 | 13.7957 |  | 43202
Mid-rise Apartment | Total | 89400 | 89700 | 73800 | 61800 | 60600 | [9 empty] | Weighted Partials | [6 empty] | Area weighted partials
| $/ft2 | 2.6496 | 2.6585 | 2.1872 | 1.8316 | 1.796 |  | 33741 | [14 empty] | 4.4954 | 4.4378 | 4.031 | 3.7889 | 3.9146
Simple Payback, Years | [9 empty] | 2A | 3A | 3B | 4A | 5A | SUM | 2A | 3A | 3B | 4A | 5A |  | sf | 2A | 3A | 3B | 4A | 5A
Small Office |  | Immediate | Immediate | Immediate | Immediate | Immediate |  |  | OfficeSmall | 0.025336 | 0.023024 | 0.0090861 | 0.019059 | 0.022135 | 0.09864 | 585.2616 | 527.2542 | 211.7061 | 419.3024 | 484.7521 |  | 5502 | 0.10637 | 0.09583 | 0.038478 | 0.076209 | 0.088105 | OfficeSmall | 4.1058
Large Office |  | Immediate | Immediate | Immediate | Immediate | Immediate |  |  | OfficeLarge | 0.017992 | 0.017948 | 0.0084833 | 0.037221 | 0.015936 | 0.09758 | 39401.823 | 39306.777 | 16542.435 | 79652.512 | 33624.538 |  | 498588 | 0.079027 | 0.078836 | 0.033179 | 0.15976 | 0.06744 | OfficeLarge | 4.2861
Standalone Retail |  | Immediate | Immediate | Immediate | Immediate | Immediate |  |  | RetailStandalone | 0.059235 | 0.058756 | 0.028203 | 0.063391 | 0.078184 | 0.28777 | 7049.0126 | 6615.8806 | 3271.5712 | 6782.8691 | 8287.5464 |  | 24692 | 0.28548 | 0.26794 | 0.1325 | 0.2747 | 0.33564 | RetailStandalone | 4.5044
Primary School |  | Immediate | Immediate | Immediate | Immediate | Immediate |  |  | SchoolPrimary | 0.032252 | 0.031014 | 0.011845 | 0.029137 | 0.025519 | 0.12977 | 12965.3844 | 11630.2125 | 4773.3738 | 10868.0637 | 9620.6253 |  | 73959 | 0.17531 | 0.15725 | 0.064541 | 0.14695 | 0.13008 | SchoolPrimary | 5.1949
Small Hotel |  | 7.5 | 7.8 | 7.7 | 8.7 | 9 |  |  | HotelSmall | 0.010034 | 0.0088539 | 0.003509 | 0.010054 | 0.0090099 | 0.041461 | 6127.8031 | 5365.4634 | 2133.472 | 6022.5257 | 5369.9004 |  | 43202 | 0.14184 | 0.12419 | 0.049384 | 0.1394 | 0.1243 | HotelSmall | 13.9678
Mid-rise Apartment |  | Immediate | Immediate | Immediate | Immediate | Immediate |  |  | ApartmentMidRise | 0.074155 | 0.058763 | 0.038875 | 0.099679 | 0.07331 | 0.34478 | 6629.4838 | 5271.068 | 2869.0045 | 6160.1437 | 4442.5799 |  | 33741 | 0.19648 | 0.15622 | 0.08503 | 0.18257 | 0.13167 | ApartmentMidRise | 2.181
Scalar Ratio (Limit 22.08) | [9 empty] | 0.219 | 0.19836 | 0.1 | 0.25854 | 0.22409 | [5 empty] | Total Code NPV across 5 CZ & 6 building types: | 343012.3455 |  |  |  |  | Total Code NPV across 5 CZ & 6 building types: | 4.1247
Small Office |  | -58.2851 | -63.1464 | -61.0253 | -67.3806 | -67.9265 | -63.5931 |  | Scenario 3 | 22.08 | <= Scalar Limit |  |  | 1
Large Office |  | -39.7215 | -38.5184 | -44.4089 | -49.8072 | -46.2063 | -44.8138
Standalone Retail |  | -16.7341 | -27.0929 | -33.8538 | -30.6628 | -32.7768 | -27.9539
Primary School |  | -41.3577 | -38.177 | -35.9247 | -45.0475 | -45.2952 | -41.7044
Small Hotel |  | -96.5863 | -103.1309 | -100.947 | -115.0722 | -120.9977 | -108.1406
Mid-rise Apartment |  | -40.6402 | -47.2208 | -215.4483 | -775.6123 | -1136.6019 | -506.9872
|  | -38.8089 | -43.4014 | -110.412 | -328.2393 | -403.281 | -203.3858
First costs |  |  |  | HVAC |  |  |  |  | Lighting | [6 empty] | Envelope, Power, Other | [5 empty] | Total
|  | 2A | 3A | 3B | 4A | 5A | 2A | 3A | 3B | 4A | 5A |  |  | 2A | 3A | 3B | 4A | 5A | 2A | 3A | 3B | 4A | 5A |  |  | 0
Small Office |  | -412.2962 | -321.9867 | -428.9515 | 21.6972 | -16.0286 | -10042.036 | -10042.036 | -10042.036 | -10042.036 | -10042.036 |  |  | 557.059 | 208.9976 | 208.9976 | 139.0638 | 139.0638 | -9897.2732 | -10155.0252 | -10261.9899 | -9881.275 | -9919.0008 |  |  | 0
Large Office |  | -159886.4963 | -118371.1036 | -70494.7772 | -176848.419 | -135436.5446 | -910358.7867 | -910358.7867 | -910358.7867 | -910358.7867 | -910358.7867 |  |  | 43271.0149 | 16234.4356 | 16234.4356 | 10802.1437 | 10802.1437 | -1026974.268 | -1012495.4547 | -964619.1283 | -1076405.062 | -1034993.1876
Standalone Retail |  | -4793.5187 | -4663.4106 | -5188.2881 | -4044.7173 | -4670.2619 | -30207.0748 | -30207.0748 | -30207.0748 | -30207.0748 | -30207.0748 |  |  | 1735.6757 | 1143.2425 | 1143.2425 | 197.8546 | 197.8546 | -33264.9178 | -33727.2429 | -34252.1204 | -34053.9375 | -34679.4821
Primary School |  | -20220.4067 | -768.205 | -13666.6424 | -8946.5763 | -10692.3997 | -145557.4015 | -145557.4015 | -145557.4015 | -145557.4015 | -145557.4015 |  |  | 5636.8151 | 1882.8857 | 1882.8857 | 947.3639 | 935.5218 | -160140.9931 | -144442.7207 | -157341.1581 | -153556.6139 | -155314.2793
Small Hotel |  | -194.8027 | -240.0807 | -116.7167 | 300.6809 | -159.8577 | 28668.5525 | 28668.5525 | 28668.5525 | 28668.5525 | 28668.5525 |  |  | 1387.8634 | 842.248 | 842.248 | 174.1047 | 171.6175 | 29861.6132 | 29270.7197 | 29394.0837 | 29143.3381 | 28680.3123
Mid-rise Apartment |  | 9017.2839 | 8863.6433 | 7591.4915 | 11426.8537 | 11719.6663 | -21988.5351 | -21988.5351 | -21988.5351 | -21988.5351 | -21988.5351 |  |  | 979.7442 | 735.8416 | 735.8416 | 595.2876 | 595.2876 | -11991.507 | -12389.0502 | -13661.202 | -9966.3938 | -9673.5812
Annual Energy cost Savings (Table 5.3)
Prototype |  | Climate Zone
|  | 2A Houston | 3A Memphis | 3B El Paso | 4A Baltimore | 5A Chicago
Life Cycle Cost Net Savings
Small Office | Total | 277.6399 | 259.3776 | 271.2516 | 236.997 | 234.8084
| $/ft2 | 0.05048 | 0.04716 | 0.049318 | 0.04309 | 0.042692 |  | 5500
Large Office | Total | 36020.101 | 36524.9357 | 29946.8872 | 29898.465 | 31038.3133
| $/ft2 | 0.072237 | 0.073249 | 0.060057 | 0.05996 | 0.062246 |  | 498640
Standalone Retail | Total | 2674.0951 | 2308.6607 | 2394.6541 | 2035.1816 | 1927.1062
| $/ft2 | 0.10831 | 0.093506 | 0.096989 | 0.082429 | 0.078052 |  | 24690
Primary School | Total | 6320.4701 | 6084.805 | 6944.6128 | 5411.1272 | 5438.8307
| $/ft2 | 0.085446 | 0.08226 | 0.093884 | 0.073153 | 0.073528 |  | 73970
Small Hotel | Total | 4001.784 | 3753.626 | 3832.972 | 3364.2118 | 3203.0943
| $/ft2 | 0.092612 | 0.086869 | 0.088706 | 0.077857 | 0.074129 |  | 43210
Mid-rise Apartment | Total | 1746.9272 | 1581.3331 | 731.8998 | 542.1997 | 521.9824
| $/ft2 | 0.051776 | 0.046868 | 0.021692 | 0.01607 | 0.015471 |  | 33740

## Changes_QC (hidden)
90.1-2010-16 CE starts below at row 91
90.1-2010-13 CE starts below at row 56
| 90.1 2007-10 CE |  |  | Adjustments October/November 2013
Issue | National Fix | State Fix | By | Tab affected | Columns affected | Notes/Change
| 41577 | 41597 |  | LCC/Scalar | fix hiRise apartment was referenced to small office
| 41577 | 41597 |  | LCC | 4A/sm_Ofc wrong index on/@ 30 year
| 41577 | NA |  | Scalar | Test "Yes" replaced with formula
| 41577 |  |  | HVAC Costs Comp | U:AS/131:156 | Update Duct M&L costs & put formula in for hours
| 41577 | OK |  | Int Ltg LPD Proto | AP/AS/BI/BL | Ballast labor referred to Lamp Labor
| 41577 | OK |  | Int Ltg LPD Proto | AP/AS/BI/BL | Row 2-3 each 2007 space no material cost due to references
| 41578 | 41597 |  | Ext Lighting Proto | Repeated replacements incorrect at 20,28 years
| 41578 | 41597 |  | Other Prototype tabs | Check for above - seems to be a general problem
| 41578 | 41597 |  | costeffInputs | ResValue30 | Added explanation that replacements with periods beyond analysis period represent residual value remaining from the first cost
| 41582 | 41597 |  | Int Lighting Comp | U | Lamp replacement labor hours consistent with replacement multiplier
| 41582 | OK |  | Chicago first cost mechanical delta |  | Not changed; correct based on heat recovery requirements
| 41582 | OK |  | CHW Flow costs double |  | Not changed; correct based on change in pipe sizing criteria - added pipe & insulation costs
| 41586 | 41597 |  | Int Lighting Comp |  | Normalized to standard hours, moving added labor to replacement cost adjustments
| 41586 | OK |  | Int Ltg LPD Proto | AV/BO | Formulas added for ballast cost adjustments
| 41586 | 41597 |  | Int Ltg LPD Proto | AV/BO | Formulas adjusted to include added labor hours in all replacement cost adjustments
| 41586 | OK |  | Int Ltg LPD Proto | AV/BO | Material cost adjustments for replacements corrected for 2010
| 41586 | 41597 |  | Int Lighting Comp |  | Costs standardized to labor rate and adjustments made to match 2007 and 2010 tables
| 41589 | 41597 |  | Int Light space type |  | Retail adjusted to use same fixture types, exlcude wall wash add in 2010 for better consistency
| 41589 | OK |  | Int Ltg LPD Proto | AO | Ballast life referred to Lamp Life
| 41597 | 41597 |  | Int Lighting Comp |  | Ballast cost added for 18" task light
| 41597 | 41597 |  | Int Ltg LPD Space Type Comp | R | Lamp Costs added
| NA | 41602 |  | LCC |  | Envelope references still from state for CZ
| see LPD below | 41598 |  | LPD |  | For closed offices made consistent 2-lamp fixtures pre and post since no real change in LPD
| 41602 | 41598 |  | Light Comp |  | Reducing ballast hours so 1.65 replacement multiplier brings it back to 1, as ballast labor must be for replacement.
| NA | 41598 |  | Weightings |  | 0 lg ofice in MT and 0 apartments in DE indicate weights were not blended; placeholder at 0.001% to avoid % zero; revised text
| 41599 | NA |  | Envelope & power | $4K | Small office in Baltimore - Vestibule cost in small office, CZ 4A only
| 41599 | NA |  | Envelope & power | 232 | Elevator
|  | 41600 |  | Occ Sensor Proto |  | Cost included not used column; formula fixed
| NA | 41600 |  | Env Pow Other Comp Costs |  | Copy Green items column A in from Jian so gets flagged for first cost and replacement
| NA | 41600 |  | State Inputs |  | Texas 3A 3B zones swapped; checked others
| NA | 41600 |  | Env Pow Other Comp Costs |  | Jian checked multiple items to verify Brian had finished
| NA | 41600 |  | Env Pow Other Comp Costs |  | Error in reference for first cost/maint sm cz_5th instead revered to CZ_1st column; fixed all prototypes
| NA | 41601 |  | HVAC Data |  | IECC paste needs replacing with 90.1 - only Alabama small Hotel
| NA | 41601 |  | HVAC Comp/LO proto |  | Chilled Water piping cost curve fit
| NA | 41601 |  | HVAC Comp/LO proto |  | Heating Water piping cost curve fits added for large office and schools - Reheat data added to HVAC_Data
| NA | 41601 |  | HVAC Comp/PS proto |  | Heating Water piping cost curve fits added for large office and schools
| No longer issue-See LPD | 41601 |  | State Report/Result Tables |  | for many states small office (lesser mid-Apartments) are not cost effective - so added variable language
| OK | 41601 |  | Env Pow Other Comp Costs |  | Receptacle control still based on plug strips; convert to relays to match national
| 41601 | 41601 |  | Env Pow Other Comp Costs |  | Air barrier sealing had adders even though it is based on a quoted commissioning cost; moved to Cx
| 41601 | 41601 |  | HVAC Proto |  | Ductwork life corrected from 20 to 30 years, all prototypes
| NA | NA |  | HVAC SmOfc Proto |  | Greater mechanical reduction National as loads different, and National rounded to nearest half ton.
| OK | 41602 |  | Int Lighting Proto |  | Repeated replacements incorrect at 20,28 years - missed 2007 columns
| NA | OK |  | LCC Sc1 |  | Mid apt replacements not match on cost est summary and LCC 1; intentional - costs on Cost Est Summary used - warning added to LCC sheets
| 41602 | 41602 |  | Cost Est Summary |  | Vestibule replacement life was missing -so vestibule residual is missed; set at 40 years; on Nat sheet 30 year analysis not set up with residual for 4A - fixed
| 41602 | NA |  | PriSch Light |  | School not CE - receptacle labor OK increase; check light - lamp costs included now - change legit
| No longer issue-See LPD | OK |  | HVAC Proto |  | School not CE - National HVAC much greater than state - State method would show ductwork cost decrease
| OK | NA |  | HVAC Proto |  | School not CE - National HVAC much greater than state - ERV enhancemeent not active in National analysis
| see LPD below | OK |  | Apt Light |  | Nat: Mid-rise apartment; general cost increase; now some not CE; biggest increase in lighting; due to lamps included in first cost
| 41610 | 41602 |  | IntLtg Space/Proto |  | Look at changes in lighting where 2010 has ballast/fixture increase or 90.1 LSC design results in imbalanced costs relative to LPD change
| ?? | Hold for RFI |  | Cost Eff Inputs |  | Combined tax rate does not account for state tax deduction from federal taxes
| 90.1-2010-13 CE starts below at row 56 |  |  |  | Adjustments August/September 2014
A few unnoted changes/updates - would need to do a file compare as of 8/15
| 41876 |  |  | Int Lighting Comp | U&Y | Fixed some transfers not made by Ivy rows 47-52
| 41876 |  |  | Int Ltg Lpd Space . . . | N111:AJ121 | Values in col "o" typed in rather than copied, loss of precision
| 41877 |  |  | Int Ltg Lpd Space . . . | O146:147 | Value mismatch; updated to match Susal L values for 2013
| 41877 |  |  | Int Ltg Lpd Space . . . | see check | Reviewed cost changes with no LPD changes - revert to 2013 for both
| 41877 |  |  | Int Ltg LPD Proto . . . | see check | unused LPD space/fixture ref removed from LPD proto to get rid of #NA
| 41878 |  |  | Int Ltg LPD Proto . . . |  | discrepency in SF
| 41878 |  |  | Int Ltg LPD Proto . . . |  | Ballast replacement references are wrong-same as fixture costs; not sure where this was introduced, as the formulas were correct in the 2010 national and state spreadsheets.
| 41878 |  |  | LPD |  | Multiple lighting discrepencies fixed - final cross check requested
| Rahul |  |  |  |  | Foundation costs off
| 41884 |  |  |  |  | Appears not to be CE for many cases
| 41884 |  |  |  |  | Verified hidden sheets not in total
| 41884 |  |  |  |  | Added Scenario 3: Scalar | Roof deck insulation comparison
| 41884 |  |  | HVAC comp |  | Fixed CHW/CW piping | R | U |  | M | L
| 41886 |  |  | Daylighting |  | No formula for baseyear costs; added | 25.641 | 0.039 | 8" concrete slab, normal weight, XPSinsulation | 20.3286 | 9.1548 | 3BLORoof - Insulation Entirely Above Deck2013
| 41886 |  |  | Int Ltg LPD Proto . . . |  | Areas with increased LPD not included in cost effectiveness | 31.25 | 0.032 | 8" concrete slab, normal weight, XPSinsulation | 21.2505 | 9.2211 | 4ALORoof - Insulation Entirely Above Deck2013
| 41886 |  |  |  |  | Verified no new daylighting for large retail | 5.609 |  |  | 0.9219 | 0.066241
| 41886 |  |  | HVAC LG OFC | Duct airflow | Problems with inconsistent regresson formulas and 0 canceling out | Polyiso | 2" |  | 0.78 | 0.27 | Means 2012 Bldg 07 22 16.10
| 41886 |  |  | ENV_Comp |  | Inflation factors added | R-5 per | 3" |  | 1.23 | 0.3 | Means 2012
[5 empty] | To do items: | AQ: economizer | 3/4" | delta 1" |  | 0.45 | 0.03 | Means values are about half of the database!
[5 empty] | All done | Split/Furnace inflation labor & material
[6 empty] | VFDs by proto | XPS | 3" |  | 1.28 | 0.3 | Means 2012 Bldg 07 22 16.10
[6 empty] | Energy recovery | R-5 per | 4" |  | 1.7 | 0.3 | Means 2012
[6 empty] | cooling towers | inch | delta 1" |  | 0.42 | 0 | Means values are about half of the database!
[6 empty] | chiller eff | 40 psi
motor eff
several mechanical items in characterization
| 41918 |  |  | Inflation adjustments made to replacement costs
| 42096 |  |  | For the national level (90.1-2013) we left the refrigeration costs out. Primary School.
| 42117 |  |  | Export 3 macro has been updated; export 2 & sheet for 1 need new row deletions
Changes to 90.1-2016 Cost effectiveness:
Issue | National Fix | State Fix | By | Tab affected | Columns/area affected | Notes/Change
| 43307 |  | MM | State Inputs |  | Changed BaseName (cell T2) to 90.1-2013
| 43307 |  | MM | State Inputs |  | Changed TargetName (cell T3) to 90.1-2016
| 43307 |  | MM | State Inputs |  | These cells feed into named formulas BaseName and TargetName.
| 43307 |  | MM | Int Ltg LPD Space Type 90_1 All Tab |  | Inserted more rows for fixtures
| 43307 |  | MM | Int Ltg LPD Space Type 90_1 All Tab |  | Inserted new fixture list
| 43307 |  | MM | Int Ltg LPD Space Type 90_1 All Tab |  | Retained the LAST SET of fixture types, but changed those fixture types to ###-2013. This retains all of the OLD data as a reference point, but the formulas do not pull it.
| 43307 |  | MM | Int Ltg LPD Space Type 90_1 All Tab |  | Because of the other changes I made in State Inputs, it now says “90.1-2013 Look up Values” at the top
| 43307 |  | MM | Int Ltg LPD Space Type 90_1 All Tab |  | I copied the Fixture Watts/ft2 from 2013 below and compared and updated the set
| 43307 |  | MM | Int Ltg LPD Space Type 90_1 All Tab |  | Basically, as of now, both the top and bottom versions of this spreadsheet are identical values at this time
| 43307 |  | MM | Int Ltg LPD Space Type 90_1 All Tab |  | I also inserted a check into Int Ltg LPD column E to make sure individual LPD values sum to the space type LPD
| 43348 |  | PRH | HVAC Large Office Proto | K92 | Fixed missing material & project multiplier portions of HW formula for Base in first CA
| 43361 |  | PRH | Cost_Inflation |  | Updated to 2012-2018 & fixed text
| 43361 |  | PRH | Lighting tabs |  | Fixed lead lighting formulas to ref base/target 2013/2016
| 43361 |  | PRH | Lighting Occ Sensor tabs |  | Zeroed and Hid the Occ sensor tabs
| 43361 |  | PRH | Env Power tabs |  | Verified Envelope currently zeroed out - need to add doors & SHGC
| 43362 |  | PRH | Daylighting tabs |  | Zeroed and Hid the Daylighting tabs
| 43394 |  | PRH | Daylighting tabs |  | Added egress control
| 43394 |  | PRH | H Apt Proto |  | Fixed PTHP quantity control
| 43394 |  | PRH | H Comp |  | Removed old efficiency improvements; fixed some labor hours
| 43394 |  | PRH | Inflation |  | Updated inflation factors
| 43394 |  | PRH | LO_Proto |  | Fixed multipliers for MID
| 43395 |  | PRH | Crews |  | Crew labor data updated to 2018
| 43397 |  | PRH | Lite Comp |  | Added lumen data
| 43397 |  | PRH | HVAC data |  | Updated with 10/20 E+ outputs including radiant adjustment
| 43397 |  | PRH | Energy Data |  | Updated with 10/20 E+ outputs including radiant adjustment
| 43402 |  | PRH | Int Lite |  | Add Dwelling Unit
| 43402 |  | PRH | Lite Proto |  | Corrected all replacements that previously used SmOfc hours for all Proto
| 43486 |  | MT | HVAC Large Office Proto | Y24, AI24, BC24 | In climates 3A, 3B, 5A the equation for total new construction cost includes this term …*inf_mat_DUCT*0+… and the *0 should not be there, thus removed the errant 0
National analysis for 90.1-2019 begins:
| 43852 |  | PRH | Cost Eff Inputs | various | US National Factors for 2019 input
| 43852 |  | PRH | State Inputs | various | US National Prices for 2019 input
| 43927 |  | PRH | State Inputs |  | Col B/C need to be correct code 2016/2019 for US
| 43927 |  | PRH | Int Ltg LPD summary |  | If base/target code above are corrected, none of lighting changes get read correctly; need to rectify all conditional formulas on lighting summary sheet; or need to deal with cosmetics throughout whever headings are incorrect. MM is updating formulas in the main cost spreadsheet.
43928 | 43931 |  | PRH | HVAC Costs Comp |  | HVAC Costs comp; VAV vent optimization should be "oranged" out - old addenda; row 258
43928 | 43931 |  | PRH | HVAC Costs Comp |  | Many old addenda not marked for hiding
43928 | 43931 |  | PRH | HVAC Costs Comp |  | Better description addm g in spreadsheet row 344
43928 | 43931 |  | PRH | HVAC Costs Comp | 16 h & ay Res ERV | Costs look like per apartment not central system, and are not multiplied by # of apartments
43928 | 43931 |  | PRH | HVAC Large Office | 16ap SAT | CZ 2A is required above 10k cfm and qualifies. ; also correct on HVAC COSTS COMP
43928 | 43931 |  | PRH | HVAC Large Office | System sizing | Rows 14/15 @ col k:R, etc showing "out of range"; Need to divide by floor multiplier for lookup and then multiply back
43928 | 43931 |  | PRH | HVAC Costs Comp | 16be | Better to show separate prices for 20 ton units and 2.5 ton units, then multiply by quantities in Large Office
43928 | 43931 |  | PRH | HVAC Costs Comp | 16bq | Identify addendum in visible part of spreadsheet
43928 | 43931 |  | PRH | HVAC Costs Comp | 16bo | Identify addendum in visible part of spreadsheet
43928 | 43931 |  | PRH | HVAC Costs Comp | 16bo | Apt mat cost much too low; labor cost for large vs. apt should be different
43935 | 43935 |  | PRH | HVAC Costs Comp | rows 376-377 | There are different chiller material costs in AP & Bk, even though this is supposed to be just a capture of capacity change. Not sure how the logic carries through to prototype sheets. Not clear how inflation factors are applied in
43935 | 43935 |  | PRH | HVAC Costs Comp | rows 439-455 | There are different hydronic piping costs in AI & BC, even though this is supposed to be just a capture of capacity change. So, these two sets of values go back to 2007 & 2010, I think - so may just need a note here to clarify that those x values in W and AC are not current values, just prior calculated values to develop the regressions.
43935 | 43935 |  | PRH | HVAC Large Office proto | Row 98 | Not seeing where inflation factor gets applied; it is on costComp, but unless you ran new regressions, it is not factoring in what gets used on the prototype tab. Need inflation to carry forward there.
43935 | 43935 |  | PRH | HVAC Pri School proto |  | Same as large office for schools